## AMY1A_Native
Component Name |  | Curve Index | Weighting Index | Origin Index | Equation
AMY1A_Native |  |  |  |  | NA
Filename | Sample Type | Sample Name | Sample ID | Exp Amt | Calc Amt | Units | %Diff | Level | %RSD-AMT | Peak Status | Response Ratio | Response Type | Equation | Area | Height | ISTD Area | ISTD Ht | RT | Rel RT | Del RT | S/N | Start Time | End Time | Start Height | End Height | Integ Code | Search Window | Threshold | Smooth | Acq Date | Duration | Exp Method | Proc Method | Vial | Inj Vol | Sample Wt | Sample Vol | ISTD Base Amt | ISTD Calc Amt | Dilution Factor | Study | Client | Laboratory | Company | Phone | Comment
V1110711 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 1 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.83275 | Area |  | 40094976.5654 | 13419728.147 | 48147952.4808 | 15803444.1144 | 28.4155 | 0.99147 | 0.2445 | 2674293.3086 | 28.3249 | 28.5423 | 12179.9822 | 17862.0221 | BB | 300 | 3 | 1 | 2011-01-07 19:32 | 50.0077 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rb2 | 4 | 0 | 0 | 1 | 1 | 1
V1110714 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 4 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.55828 | Area |  | 8720499.74 | 2443523.0835 | 15620297.5414 | 4587199.8635 | 28.6144 | 0.99841 | 0.045633 | 1022957.8914 | 28.5236 | 28.7051 | 6469.2787 | 4050.8515 | BB | 300 | 3 | 1 | 2011-01-07 21:18 | 50.0065 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rb3 | 4 | 0 | 0 | 1 | 1 | 1
V1110717 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 7 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.20676 | Area |  | 9053798.0276 | 2061824.4964 | 43788509.3654 | 10409885.6127 | 28.5405 | 0.99583 | 0.11948 | 1299685.0725 | 28.4318 | 28.6495 | 846.7921 | 3103.9106 | BB | 300 | 3 | 1 | 2011-01-07 23:05 | 50.0033 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rb4 | 4 | 0 | 0 | 1 | 1 | 1
V1110723 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 34 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.39866 | Area |  | 11081426.2552 | 2496070.1679 | 27796663.3065 | 5749308.6926 | 28.5804 | 0.99722 | 0.0796 | 1666413.4467 | 28.508 | 28.7076 | 2207.187 | 503.2877 | BB | 300 | 3 | 1 | 2011-01-08 02:36 | 50.0105 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rb6 | 4 | 0 | 0 | 1 | 1 | 1
V1110729 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 61 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.50246 | Area |  | 15045612.1795 | 4930436.0888 | 29943906.1015 | 8876086.6868 | 28.3633 | 0.98965 | 0.29672 | 1998856.3842 | 28.2724 | 28.454 | 411.5431 | 10061.5717 | BB | 300 | 3 | 1 | 2011-01-08 06:08 | 50.0082 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rb8 | 4 | 0 | 0 | 1 | 1 | 1
V1110732 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 64 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.6826 | Area |  | 35502864.2124 | 10589542.6669 | 52011000.5528 | 15864958.5585 | 28.2171 | 0.98455 | 0.4429 | 3675324.3077 | 28.1445 | 28.3078 | 18465.372 | 47340.8231 | BB | 300 | 3 | 1 | 2011-01-08 07:54 | 50.0109 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rc1 | 4 | 0 | 0 | 1 | 1 | 1
V1110738 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 91 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.63207 | Area |  | 5412014.1827 | 2017421.5615 | 8562412.2636 | 2416027.4959 | 28.6716 | 1.0004 | -0.011566 | 381865.7185 | 28.6354 | 28.7624 | 1.7529 | 19.1428 | BB | 300 | 3 | 1 | 2011-01-08 11:26 | 50.0114 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rc3 | 4 | 0 | 0 | 1 | 1 | 1
V1110741 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 94 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.41242 | Area |  | 1107107.048 | 258551.3462 | 2684432.4928 | 563801.4904 | 28.3055 | 0.98763 | 0.35453 | 97106.4496 | 28.1968 | 28.4324 | 92.8086 | 24.0498 | BB | 300 | 3 | 1 | 2011-01-08 13:12 | 50.0047 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rc4 | 4 | 0 | 0 | 1 | 1 | 1
V1110744 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 97 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.55626 | Area |  | 22029425.8243 | 3552778.6812 | 39602447.164 | 6025337.2103 | 28.2683 | 0.98633 | 0.39173 | 2379628.4228 | 28.1413 | 28.3769 | 8867.738 | 12310.6369 | BB | 300 | 3 | 1 | 2011-01-08 14:58 | 50.0043 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rc5 | 4 | 0 | 0 | 1 | 1 | 1
V1110753 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 11 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.7965 | Area |  | 8167898.5092 | 3588872.3526 | 10254799.5577 | 4648259.2442 | 28.3944 | 0.99073 | 0.26557 | 1287921.8114 | 28.3218 | 28.467 | -0.23194 | 8292.3704 | BB | 300 | 3 | 1 | 2011-01-08 20:16 | 50.0047 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rc7 | 4 | 0 | 0 | 1 | 1 | 1
V1110756 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 14 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.5166 | Area |  | 20898193.2039 | 4736078.1732 | 40453359.4651 | 10019878.6215 | 28.2346 | 0.98516 | 0.42545 | 3708003.1032 | 28.144 | 28.3794 | 3260.1325 | 6968.6883 | BB | 300 | 3 | 1 | 2011-01-08 22:02 | 50.0074 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rc8 | 4 | 0 | 0 | 1 | 1 | 1
V1110759 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 17 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.24851 | Area |  | 12864601.3799 | 3820623.6656 | 51767563.4746 | 15417317.5302 | 28.3627 | 0.98963 | 0.29733 | 2523095.0599 | 28.2719 | 28.4353 | 155.0494 | 259.7535 | BB | 300 | 3 | 1 | 2011-01-08 23:48 | 50.0083 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rd1 | 4 | 0 | 0 | 1 | 1 | 1
V1110762 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 41 | 1 | NA | NA |  | NA | NA | NA | Response Low | 1.0726 | Area |  | 46640962.289 | 8749614.4935 | 43484809.7937 | 8503791.4209 | 28.2887 | 0.98705 | 0.37125 | 4524478.328 | 28.1798 | 28.434 | 34836.9896 | 33022.1576 | BB | 300 | 3 | 1 | 2011-01-09 01:34 | 50.007 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rd2 | 4 | 0 | 0 | 1 | 1 | 1
V1110765 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 44 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.42694 | Area |  | 9739525.9339 | 2747603.9303 | 22812652.8697 | 6452661.024 | 28.2728 | 0.98649 | 0.38718 | 1351817.4431 | 28.1821 | 28.3814 | 4739.8648 | 12103.9751 | BB | 300 | 3 | 1 | 2011-01-09 03:20 | 50.0096 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rd3 | 4 | 0 | 0 | 1 | 1 | 1
V1110768 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 47 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.63388 | Area |  | 32702627.8916 | 7931279.6743 | 51591080.165 | 12181264.6351 | 28.3057 | 0.98764 | 0.35425 | 6847957.5526 | 28.2151 | 28.3782 | 33724.2382 | 24957.7951 | BB | 300 | 3 | 1 | 2011-01-09 05:06 | 50.0045 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rd4 | 4 | 0 | 0 | 1 | 1 | 1
V1110771 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 71 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.5457 | Area |  | 32491457.6027 | 5832314.5737 | 59541052.364 | 9807199.1334 | 28.2357 | 0.98519 | 0.42433 | 1702684.4969 | 28.0905 | 28.3264 | 20849.5466 | 21088.3194 | BB | 300 | 3 | 1 | 2011-01-09 06:52 | 50.0101 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rd5 | 4 | 0 | 0 | 1 | 1 | 1
V1110774 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 74 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.66418 | Area |  | 50310433.528 | 12671835.3728 | 75747831.1749 | 19843560.2691 | 28.2667 | 0.98628 | 0.39332 | 7944175.0013 | 28.176 | 28.3391 | 39893.8729 | 9703.0681 | BB | 300 | 3 | 1 | 2011-01-09 08:37 | 50.0033 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rd6 | 4 | 0 | 0 | 1 | 1 | 1
V1110777 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 37_2 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.6095 | Area |  | 39715971.9772 | 9573894.8488 | 65161917.3405 | 15642652.7978 | 28.2888 | 0.98705 | 0.37118 | 10536322.1407 | 28.1982 | 28.3795 | 39548.9765 | 5910.4314 | BB | 300 | 3 | 1 | 2011-01-09 10:23 | 50.0086 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rb7 | 4 | 0 | 0 | 1 | 1 | 1
V1110780 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 31_2 | 1 | NA | NA |  | NA | NA | NA | Response Low | 1.0878 | Area |  | 52208902.4665 | 11134360.4558 | 47994852.907 | 10952274.6765 | 28.2672 | 0.9863 | 0.39277 | 7522956.0764 | 28.1766 | 28.4121 | 12285.585 | 47655.381 | BB | 300 | 3 | 1 | 2011-01-09 12:10 | 50.0058 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rb5 | 4 | 0 | 0 | 1 | 1 | 1
V1110783 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 67_2 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.31615 | Area |  | 20017544.2766 | 5106600.1363 | 63316419.4645 | 16215856.7667 | 28.2693 | 0.98637 | 0.39068 | 3148899.5768 | 28.1787 | 28.3419 | 24704.7911 | 16388.6918 | BB | 300 | 3 | 1 | 2011-01-09 13:55 | 50.0049 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rc2 | 4 | 0 | 0 | 1 | 1 | 1
V1110906 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 77 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.25539 | Area |  | 16995850.2775 | 3476366.1088 | 66548105.7239 | 13101558.301 | 28.5092 | 0.99474 | 0.1508 | 803164.3347 | 28.3823 | 28.6 | 8058.3486 | 16666.8649 | BB | 300 | 3 | 1 | 2011-01-09 18:26 | 50.011 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rd7 | 4 | 0 | 0 | 1 | 1 | 1
V1110909 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 101 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.51488 | Area |  | 21739560.9297 | 2416719.5875 | 42222290.8256 | 4662385.5521 | 28.3433 | 0.98895 | 0.31665 | 563178.5372 | 28.1619 | 28.5064 | 8540.0507 | 7146.4194 | BB | 300 | 3 | 1 | 2011-01-09 20:12 | 50.0081 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rd8 | 4 | 0 | 0 | 1 | 1 | 1
V1110912 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 104 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.46508 | Area |  | 29957400.7241 | 5871711.1525 | 64413107.1271 | 13039896.8726 | 28.4154 | 0.99147 | 0.2446 | 3783849.644 | 28.2885 | 28.5241 | 2664.2493 | 21425.7299 | BB | 300 | 3 | 1 | 2011-01-09 21:58 | 50.0092 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | re1 | 4 | 0 | 0 | 1 | 1 | 1
V1110915 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 107 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.5797 | Area |  | 29438874.2725 | 5361802.2654 | 50782687.2754 | 8965186.5366 | 28.4149 | 0.99145 | 0.24508 | 1499842.4252 | 28.2698 | 28.5238 | 19751.381 | 24445.2289 | BB | 300 | 3 | 1 | 2011-01-09 23:43 | 50.0054 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | re2 | 4 | 0 | 0 | 1 | 1 | 1
V1110921 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 21 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.75848 | Area |  | 43439756.6704 | 8818193.57 | 57271793.4571 | 12039220.2844 | 28.6537 | 0.99978 | 0.0063001 | 6287724.058 | 28.527 | 28.8167 | 29862.3054 | 31409.8659 | BB | 300 | 3 | 1 | 2011-01-10 03:16 | 50.0098 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rb2 | 4 | 0 | 0 | 1 | 1 | 1
V1110924 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 24 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.53469 | Area |  | 21740089.4388 | 2567212.6614 | 40659187.9273 | 4752099.0513 | 28.4525 | 0.99276 | 0.20748 | 2037929.8098 | 28.2889 | 28.7425 | 11739.2528 | 7862.378 | BB | 300 | 3 | 1 | 2011-01-10 05:01 | 50.0113 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rb3 | 4 | 0 | 0 | 1 | 1 | 1
V1110927 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 27 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.21373 | Area |  | 12034300.716 | 1509372.7555 | 56306987.6965 | 7042536.2511 | 28.4529 | 0.99278 | 0.20707 | 1704621.438 | 28.3078 | 28.616 | 3243.6196 | 5737.7344 | BB | 300 | 3 | 1 | 2011-01-10 06:47 | 50.0108 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rb4 | 4 | 0 | 0 | 1 | 1 | 1
V1110930 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 51 | 1 | NA | NA |  | NA | NA | NA | Response Low | 1.1492 | Area |  | 27140053.7109 | 4355632.2712 | 23615720.3295 | 3821209.6036 | 28.5409 | 0.99584 | 0.1191 | 718802.9852 | 28.3957 | 28.6857 | 2328.127 | 1118.7828 | BB | 300 | 3 | 1 | 2011-01-10 08:33 | 50.0065 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rb5 | 4 | 0 | 0 | 1 | 1 | 1
V1110933 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 54 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.44392 | Area |  | 35207705.645 | 8104669.4702 | 79310085.2822 | 18710227.5294 | 28.6514 | 0.9997 | 0.0086004 | 2003691.0112 | 28.5245 | 28.8146 | 14206.2184 | 14783.6632 | BB | 300 | 3 | 1 | 2011-01-10 10:19 | 50.0061 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rb6 | 4 | 0 | 0 | 1 | 1 | 1
V1110936 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 57 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.58801 | Area |  | 11828203.098 | 2538803.4699 | 20115485.4081 | 3893111.7238 | 28.8134 | 1.0054 | -0.1534 | 2359720.727 | 28.6685 | 28.9223 | 242.2105 | 8178.2921 | BB | 300 | 3 | 1 | 2011-01-10 12:05 | 50.0088 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rb7 | 4 | 0 | 0 | 1 | 1 | 1
V1110939 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 81 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.56658 | Area |  | 25478946.8211 | 4797583.5463 | 44969577.67 | 8645356.779 | 28.5256 | 0.99531 | 0.13445 | 2670009.4987 | 28.3804 | 28.6343 | -0.40397 | 17930.2305 | BB | 300 | 3 | 1 | 2011-01-10 13:51 | 50.0067 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rb8 | 4 | 0 | 0 | 1 | 1 | 1
V1110942 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 84 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.6671 | Area |  | 64767915.085 | 7517971.7569 | 97089190.6829 | 10761164.3597 | 28.5244 | 0.99527 | 0.13557 | 1835755.7744 | 28.3794 | 28.7058 | 30668.5032 | 20768.7289 | BB | 300 | 3 | 1 | 2011-01-10 15:37 | 50.0072 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rc1 | 4 | 0 | 0 | 1 | 1 | 1
V1110945 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 87 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.27946 | Area |  | 25677542.5088 | 5019361.6817 | 91882047.7883 | 17049146.6166 | 28.5404 | 0.99583 | 0.11957 | 4375204.1638 | 28.4135 | 28.6856 | 13653.8101 | 10482.1128 | BB | 300 | 3 | 1 | 2011-01-10 17:23 | 50.0047 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rc2 | 4 | 0 | 0 | 1 | 1 | 1
V1110948 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 111 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.48443 | Area |  | 19104568.6179 | 3475068.1238 | 39437077.4189 | 6974690.1685 | 28.486 | 0.99393 | 0.17395 | 3386375.4575 | 28.3411 | 28.5947 | 4111.2179 | 4942.0084 | BB | 300 | 3 | 1 | 2011-01-10 19:09 | 50.0066 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rc3 | 4 | 0 | 0 | 1 | 1 | 1
V1110951 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 114 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.4575 | Area |  | 37235643.0014 | 9145409.8211 | 81388580.3579 | 19396960.8348 | 28.5602 | 0.99652 | 0.099766 | 13363936.6602 | 28.4516 | 28.651 | 29313.0953 | 21531.0466 | BB | 300 | 3 | 1 | 2011-01-10 20:55 | 50.0055 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rc4 | 4 | 0 | 0 | 1 | 1 | 1
V1110954 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 117 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.55235 | Area |  | 25289438.073 | 4322068.0576 | 45785520.7036 | 8309388.6005 | 28.4685 | 0.99332 | 0.19152 | 1255837.5927 | 28.3413 | 28.6318 | 6806.7921 | 5528.3165 | BB | 300 | 3 | 1 | 2011-01-10 22:41 | 50.0088 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rc5 | 4 | 0 | 0 | 1 | 1 | 1
V1110963 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 2 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.73808 | Area |  | 37111403.8576 | 6744505.3285 | 50280829.5368 | 9553795.4508 | 28.4865 | 0.99395 | 0.17352 | 1090136.9509 | 28.3417 | 28.7043 | 24340.9918 | 9584.1271 | BB | 300 | 3 | 1 | 2011-01-11 03:59 | 50.0067 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rc7 | 4 | 0 | 0 | 1 | 1 | 1
V1110969 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 8 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.20775 | Area |  | 16538239.2776 | 3541217.6036 | 79608160.8876 | 16762127.6564 | 28.543 | 0.99592 | 0.11697 | 2354488.0736 | 28.4161 | 28.6518 | 9134.7935 | 9507.3469 | BB | 300 | 3 | 1 | 2011-01-11 07:31 | 50.0079 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rd1 | 4 | 0 | 0 | 1 | 1 | 1
V1110972 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 32 | 1 | NA | NA |  | NA | NA | NA | Response Low | 1.0379 | Area |  | 45014385.8159 | 8274695.6627 | 43372459.7836 | 7821338.0979 | 28.5597 | 0.9965 | 0.10033 | 1905120.1534 | 28.4508 | 28.7771 | 25136.1567 | 37041.4128 | BB | 300 | 3 | 1 | 2011-01-11 09:17 | 50.0054 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rd2 | 4 | 0 | 0 | 1 | 1 | 1
V1110975 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 35 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.44156 | Area |  | 29373348.6741 | 5786072.4635 | 66521663.8915 | 13252862.4826 | 28.3975 | 0.99084 | 0.26252 | 2030138.5088 | 28.2705 | 28.5065 | 6114.8689 | 7824.9163 | BB | 300 | 3 | 1 | 2011-01-11 11:02 | 50.0091 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rd3 | 4 | 0 | 0 | 1 | 1 | 1
V1110978 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 38 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.66882 | Area |  | 35796327.6159 | 5963341.4702 | 53521422.2881 | 9238461.7728 | 28.3618 | 0.9896 | 0.29817 | 1428626.0608 | 28.2167 | 28.5071 | 12458.5748 | 27281.182 | BB | 300 | 3 | 1 | 2011-01-11 12:48 | 50.0085 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rd4 | 4 | 0 | 0 | 1 | 1 | 1
V1111106 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 5_2 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.53356 | Area |  | 22714396.2159 | 4413962.4699 | 42571643.5173 | 8774172.4239 | 29.0159 | 1.0124 | -0.35585 | 768706.5003 | 28.9072 | 29.1609 | 266.3098 | 10963.9257 | BB | 300 | 3 | 1 | 2011-01-11 17:06 | 50.0103 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rc8 | 4 | 0 | 0 | 1 | 1 | 1
V1111109 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 62 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.44759 | Area |  | 29731395.4189 | 8177201.2145 | 66425293.8174 | 18758688.2369 | 28.888 | 1.008 | -0.228 | 1841578.2699 | 28.7975 | 28.997 | 6239.2893 | 27038.8839 | BB | 300 | 3 | 1 | 2011-01-11 18:52 | 50.0077 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rb1 | 4 | 0 | 0 | 1 | 1 | 1
V1111112 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 65 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.64162 | Area |  | 22999704.4288 | 5020290.5988 | 35846255.4096 | 8044052.8524 | 29.1952 | 1.0187 | -0.53525 | 2900816.3274 | 29.0866 | 29.3221 | 4920.9678 | 23474.2471 | BB | 300 | 3 | 1 | 2011-01-11 20:38 | 50.0074 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rb2 | 4 | 0 | 0 | 1 | 1 | 1
V1111115 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 68 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.30863 | Area |  | 14082665.966 | 3956829.9064 | 45629955.9375 | 12872465.751 | 28.816 | 1.0054 | -0.15598 | 5589777.584 | 28.7253 | 28.8886 | 223.9428 | 2531.1912 | BB | 300 | 3 | 1 | 2011-01-11 22:24 | 50.0072 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rb3 | 4 | 0 | 0 | 1 | 1 | 1
V1111118 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 92 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.50884 | Area |  | 15969332.6432 | 2879220.0945 | 31383713.1327 | 5753505.0367 | 28.7607 | 1.0035 | -0.10065 | 1875644.6308 | 28.6518 | 28.8874 | 9538.3745 | 12139.3634 | BB | 300 | 3 | 1 | 2011-01-12 00:10 | 50.0083 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rb4 | 4 | 0 | 0 | 1 | 1 | 1
V1111121 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 95 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.43195 | Area |  | 31451425.5725 | 8626478.6813 | 72812221.0004 | 19029420.6037 | 28.8699 | 1.0073 | -0.20992 | 12007371.2615 | 28.7794 | 28.9426 | 3531.4194 | 21290.7541 | BB | 300 | 3 | 1 | 2011-01-12 01:56 | 50.0087 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rb5 | 4 | 0 | 0 | 1 | 1 | 1
V1111124 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 98 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.58283 | Area |  | 35760655.9444 | 10027749.6722 | 61356560.7042 | 16115781.7171 | 28.7793 | 1.0042 | -0.1193 | 7148601.8267 | 28.6883 | 28.9062 | 36330.6163 | 12349.1938 | BB | 300 | 3 | 1 | 2011-01-12 03:42 | 50.0115 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rb6 | 4 | 0 | 0 | 1 | 1 | 1
V1111127 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 12 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.70175 | Area |  | 33124212.5889 | 9137208.243 | 47202067.0546 | 13230066.3741 | 28.8354 | 1.0061 | -0.17535 | 2582358.8946 | 28.7445 | 28.9442 | 8553.1575 | 35910.2789 | BB | 300 | 3 | 1 | 2011-01-12 05:28 | 50.0084 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rb7 | 4 | 0 | 0 | 1 | 1 | 1
V1111130 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 15 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.6102 | Area |  | 25707347.503 | 5735226.6317 | 42129107.9737 | 9218545.1206 | 28.8304 | 1.0059 | -0.17035 | 962206.2408 | 28.7398 | 28.9391 | 1899.8664 | 22378.0531 | BB | 300 | 3 | 1 | 2011-01-12 07:14 | 50.0027 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rb8 | 4 | 0 | 0 | 1 | 1 | 1
V1111133 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 18 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.22392 | Area |  | 11385717.5703 | 3119713.8823 | 50847357.381 | 13959134.4761 | 29.0144 | 1.0124 | -0.35435 | 1159065.0348 | 28.9237 | 29.1049 | 13773.2232 | 356.4404 | BB | 300 | 3 | 1 | 2011-01-12 09:00 | 50.0076 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rc1 | 4 | 0 | 0 | 1 | 1 | 1
V1111136 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 42 | 1 | NA | NA |  | NA | NA | NA | Response Low | 1.0322 | Area |  | 36504899.6522 | 8375414.5535 | 35365415.9626 | 8028177.8307 | 28.7934 | 1.0047 | -0.13338 | 1662785.4139 | 28.6846 | 28.9746 | 5275.395 | 41425.2495 | BB | 300 | 3 | 1 | 2011-01-12 10:46 | 50.0054 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rc2 | 4 | 0 | 0 | 1 | 1 | 1
V1111139 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 45 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.42404 | Area |  | 27170792.4245 | 4560270.7547 | 64076205.0358 | 10893196.445 | 29.1586 | 1.0174 | -0.49862 | 749302.6338 | 29.0135 | 29.2854 | 2105.5362 | 1536.8425 | BB | 300 | 3 | 1 | 2011-01-12 12:32 | 50.0059 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rc3 | 4 | 0 | 0 | 1 | 1 | 1
V1111142 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 48 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.67311 | Area |  | 29648579.0543 | 6487067.4595 | 44047420.2637 | 9530427.086 | 28.8321 | 1.006 | -0.17208 | 1255559.8597 | 28.7416 | 28.9769 | 2969.9621 | 27782.947 | BB | 300 | 3 | 1 | 2011-01-12 14:17 | 50.0036 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rc4 | 4 | 0 | 0 | 1 | 1 | 1
V1111201 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 72 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.37914 | Area |  | 28465543.6483 | 8246779.1068 | 75079752.1948 | 21011116.5336 | 28.9195 | 1.0091 | -0.25953 | 1258713.691 | 28.8289 | 28.9919 | 20056.6866 | 38322.0211 | BB | 300 | 3 | 1 | 2011-01-12 16:03 | 50.0056 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rc5 | 4 | 0 | 0 | 1 | 1 | 1
V1111204 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 75 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.60354 | Area |  | 48399873.8269 | 14074151.1718 | 80193920.0164 | 23270546.2723 | 28.9238 | 1.0092 | -0.26382 | 3595026.1231 | 28.8332 | 29.0143 | 5855.5979 | 34231.347 | BB | 300 | 3 | 1 | 2011-01-12 17:50 | 50.006 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rc6 | 4 | 0 | 0 | 1 | 1 | 1
V1111207 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 78 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.28059 | Area |  | 19380849.9101 | 5324893.5904 | 69071217.3635 | 18674208.6038 | 28.8338 | 1.0061 | -0.1738 | 4345410.4535 | 28.7431 | 28.9062 | 1823.6761 | 16626.4604 | BB | 300 | 3 | 1 | 2011-01-12 19:35 | 50.0078 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rc7 | 4 | 0 | 0 | 1 | 1 | 1
V1111210 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 102 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.47352 | Area |  | 5556906.4241 | 1459526.6829 | 11735328.329 | 2806313.1931 | 29.1429 | 1.0168 | -0.48292 | 1365429.9935 | 29.0523 | 29.2339 | 5615.5494 | 7262.5166 | BB | 300 | 3 | 1 | 2011-01-12 21:21 | 50.0098 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rc8 | 4 | 0 | 0 | 1 | 1 | 1
V1111213 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 105 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.48887 | Area |  | 35816027.0663 | 10109204.4376 | 73262717.9105 | 20083646.5306 | 28.8124 | 1.0053 | -0.15237 | 4667022.4121 | 28.7217 | 28.9212 | 32649.6818 | 28193.3809 | BB | 300 | 3 | 1 | 2011-01-12 23:07 | 50.0066 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rd1 | 4 | 0 | 0 | 1 | 1 | 1
V1111216 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 108 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.57239 | Area |  | 22384034.4751 | 5723260.7462 | 39106046.1222 | 10140679.8407 | 28.8507 | 1.0067 | -0.19067 | 4160940.0417 | 28.7418 | 28.9233 | 7234.815 | 20437.9669 | BB | 300 | 3 | 1 | 2011-01-13 00:53 | 50.0077 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rd2 | 4 | 0 | 0 | 1 | 1 | 1
V1111222 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 25 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.5291 | Area |  | 25276810.4437 | 6143784.131 | 47773236.2736 | 11837654.6005 | 28.9469 | 1.01 | -0.2869 | 3587240.8838 | 28.8562 | 29.0557 | 2169.6256 | 30699.4952 | BB | 300 | 3 | 1 | 2011-01-13 04:25 | 50.0134 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rd4 | 4 | 0 | 0 | 1 | 1 | 1
V1111225 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 28 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.21146 | Area |  | 12225319.6027 | 3038511.1748 | 57815137.8655 | 14572859.6327 | 28.9067 | 1.0086 | -0.24672 | 2771479.6382 | 28.798 | 28.9975 | 618.5114 | 5114.477 | BB | 300 | 3 | 1 | 2011-01-13 06:11 | 50.0101 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rd5 | 4 | 0 | 0 | 1 | 1 | 1
V1111228 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 52 | 1 | NA | NA |  | NA | NA | NA | Response Low | 1.0507 | Area |  | 20867209.1671 | 5192325.2103 | 19860412.13 | 5173927.1907 | 28.6326 | 0.99905 | 0.027367 | 5075531.5007 | 28.5238 | 28.7234 | 2966.3506 | 15446.4574 | BB | 300 | 3 | 1 | 2011-01-13 07:57 | 50.0067 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rd6 | 4 | 0 | 0 | 1 | 1 | 1
V1111231 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 55 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.44522 | Area |  | 14720443.3248 | 3558464.958 | 33063506.2982 | 7630975.7182 | 29.0704 | 1.0143 | -0.41035 | 2051113.9402 | 28.9796 | 29.1972 | 9907.0189 | 15794.2284 | BB | 300 | 3 | 1 | 2011-01-13 09:43 | 50.0102 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rd7 | 4 | 0 | 0 | 1 | 1 | 1
V1111301 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 22_2 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.71771 | Area |  | 28868420.8153 | 8032213.2596 | 40223101.6895 | 10967489.7797 | 29.0298 | 1.0129 | -0.36975 | 2117564.7489 | 28.9393 | 29.1566 | 4659.7898 | 27723.316 | BB | 300 | 3 | 1 | 2011-01-13 11:29 | 50.0058 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rd3 | 4 | 0 | 0 | 1 | 1 | 1
V1111304 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 58 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.70108 | Area |  | 40155300.309 | 8959455.5388 | 57276173.0021 | 12540618.4588 | 28.8507 | 1.0067 | -0.19068 | 6113800.9782 | 28.7602 | 28.9774 | 20484.4575 | 25839.676 | BB | 300 | 3 | 1 | 2011-01-13 13:15 | 50.0076 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rd8 | 4 | 0 | 0 | 1 | 1 | 1
V1111307 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 82 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.43036 | Area |  | 34464886.2071 | 5465442.7517 | 80084361.6232 | 12724515.2994 | 28.9967 | 1.0117 | -0.33672 | 1036878.5814 | 28.8514 | 29.1417 | 1558.7361 | 6719.3488 | BB | 300 | 3 | 1 | 2011-01-13 15:01 | 50.0052 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | re1 | 4 | 0 | 0 | 1 | 1 | 1
V1111310 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 85 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.67234 | Area |  | 57020379.8004 | 16129209.2179 | 84808940.7223 | 23014743.3141 | 29.0175 | 1.0125 | -0.35747 | 2375396.8595 | 28.9268 | 29.0901 | 28644.1828 | 42622.6459 | BB | 300 | 3 | 1 | 2011-01-13 16:47 | 50.0099 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | re2 | 4 | 0 | 0 | 1 | 1 | 1
V1111313 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 88 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.2798 | Area |  | 19237626.679 | 4872936.8338 | 68755867.1824 | 17184957.5559 | 28.9766 | 1.011 | -0.31662 | 1200807.3785 | 28.904 | 29.0672 | 20665.4378 | 17615.7165 | BB | 300 | 3 | 1 | 2011-01-13 18:33 | 50.0077 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | re3 | 4 | 0 | 0 | 1 | 1 | 1
V1111316 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 112 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.53959 | Area |  | 14653353.4996 | 2422066.9132 | 27156434.5844 | 4229740.5864 | 28.8483 | 1.0066 | -0.18833 | 619763.5774 | 28.7214 | 28.9755 | 3786.4617 | 11332.395 | BB | 300 | 3 | 1 | 2011-01-13 20:19 | 50.0068 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | re4 | 4 | 0 | 0 | 1 | 1 | 1
V1111319 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 115 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.4836 | Area |  | 28398189.4931 | 6468589.8268 | 58721874.5733 | 13215641.5762 | 29.0464 | 1.0135 | -0.38643 | 1608145.7964 | 28.9556 | 29.1733 | 10279.7828 | 21822.4996 | BB | 300 | 3 | 1 | 2011-01-13 22:05 | 50.0035 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | re5 | 4 | 0 | 0 | 1 | 1 | 1
V1111322 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 118 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.54688 | Area |  | 37567280.5321 | 9725308.792 | 68693989.6404 | 18449778.8773 | 28.8301 | 1.0059 | -0.17012 | 7146689.1631 | 28.7395 | 28.9208 | 4762.8676 | 41763.9898 | BB | 300 | 3 | 1 | 2011-01-13 23:51 | 50.0063 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | re6 | 4 | 0 | 0 | 1 | 1 | 1
V1111328 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 3 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.75352 | Area |  | 26928335.8319 | 6219690.5185 | 35736712.8246 | 8435996.4923 | 28.978 | 1.0111 | -0.31803 | 2915520.1469 | 28.8872 | 29.0868 | 9945.2268 | 18625.576 | BB | 300 | 3 | 1 | 2011-01-14 03:23 | 50.0085 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rb1 | 4 | 0 | 0 | 1 | 1 | 1
V1111331 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 6 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.47692 | Area |  | 38284443.8371 | 11430363.699 | 80275032.6906 | 24742620.4963 | 28.8494 | 1.0066 | -0.18942 | 6215973.5335 | 28.777 | 28.9584 | 39600.2924 | 47602.0881 | BB | 300 | 3 | 1 | 2011-01-14 05:08 | 50.0057 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rb2 | 4 | 0 | 0 | 1 | 1 | 1
V1111334 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 9 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.26088 | Area |  | 9166308.4629 | 2754867.1389 | 35136210.4728 | 9810336.262 | 28.7418 | 1.0029 | -0.081783 | 764259.3833 | 28.6512 | 28.8144 | 2951.77 | 4239.62 | BB | 300 | 3 | 1 | 2011-01-14 06:54 | 50.0079 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rb3 | 4 | 0 | 0 | 1 | 1 | 1
V1111337 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 33 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.77501 | Area |  | 31666232.6625 | 9270350.4762 | 40859340.0611 | 11800093.0929 | 28.7433 | 1.0029 | -0.083317 | 3329053.901 | 28.6345 | 28.8157 | 15969.815 | 22629.2823 | BB | 300 | 3 | 1 | 2011-01-14 08:40 | 50.0063 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rb4 | 4 | 0 | 0 | 1 | 1 | 1
V1111340 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 36 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.44199 | Area |  | 10319579.1313 | 2164966.0742 | 23348065.8274 | 4723446.0506 | 28.8345 | 1.0061 | -0.1745 | 344819.0857 | 28.7438 | 28.9979 | 0.92695 | 4480.033 | BB | 300 | 3 | 1 | 2011-01-14 10:26 | 50.0082 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rb5 | 4 | 0 | 0 | 1 | 1 | 1
V1111343 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 39 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.79049 | Area |  | 32508075.0268 | 7806223.8907 | 41123992.2504 | 10119472.4226 | 28.8314 | 1.006 | -0.17142 | 3163321.4631 | 28.759 | 28.9221 | 35689.8752 | 35144.4687 | BB | 300 | 3 | 1 | 2011-01-14 12:12 | 50.0074 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rb6 | 4 | 0 | 0 | 1 | 1 | 1
V1111406 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 63 | 7 | NA | NA |  | NA | NA | NA | Response Low | 0.50444 | Area |  | 14354441.4838 | 6248008.2012 | 28456321.1356 | 12373379.4356 | 28.6503 | 0.99966 | 0.0096838 | 1375242.5651 | 28.596 | 28.7228 | 28399.0348 | 10218.3845 | BB | 300 | 3 | 1 | 2011-01-14 16:05 | 50.0063 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rb7 | 4 | 0 | 0 | 1 | 1 | 1
V1111409 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 66 | 10 | NA | NA |  | NA | NA | NA | Response Low | 0.45828 | Area |  | 8734602.9257 | 1848444.2326 | 19059467.435 | 4023308.045 | 28.8871 | 1.0079 | -0.22713 | 298447.5543 | 28.7784 | 29.0139 | 2.7947 | 3932.9058 | BB | 300 | 3 | 1 | 2011-01-14 17:51 | 50.0061 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rb8 | 4 | 0 | 0 | 1 | 1 | 1
V1111412 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 69 | 13 | NA | NA |  | NA | NA | NA | Response Low | 0.21738 | Area |  | 9407871.9827 | 3748644.8525 | 43279259.2691 | 17687274.6755 | 28.6876 | 1.001 | -0.027599 | 2469195.3449 | 28.6331 | 28.7602 | -0.021041 | 14052.0827 | BB | 300 | 3 | 1 | 2011-01-14 19:37 | 50.0063 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rc1 | 4 | 0 | 0 | 1 | 1 | 1
V1111415 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 93 | 16 | NA | NA |  | NA | NA | NA | Response Low | 0.5223 | Area |  | 22106962.0954 | 5951414.1587 | 42325815.2409 | 11520804.7236 | 28.6875 | 1.001 | -0.0275 | 5685938.9539 | 28.5968 | 28.7963 | 3587.7938 | 4050.7179 | BB | 300 | 3 | 1 | 2011-01-14 21:22 | 50.01 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rc2 | 4 | 0 | 0 | 1 | 1 | 1
V1111418 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 96 | 19 | NA | NA |  | NA | NA | NA | Response Low | 0.42742 | Area |  | 24053156.8254 | 4376809.131 | 56275260.8506 | 11910716.5321 | 28.7425 | 1.0029 | -0.082517 | 3011874.9282 | 28.6699 | 28.8514 | 3972.3485 | 3744.4577 | BB | 300 | 3 | 1 | 2011-01-14 23:08 | 50.0075 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rc3 | 4 | 0 | 0 | 1 | 1 | 1
V1111421 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 99 | 22 | NA | NA |  | NA | NA | NA | Response Low | 0.49786 | Area |  | 21237598.2105 | 8130228.9245 | 42657830.9095 | 18251844.5472 | 28.5936 | 0.99768 | 0.066366 | 4608872.397 | 28.521 | 28.6479 | 560.5544 | 32416.9137 | BB | 300 | 3 | 1 | 2011-01-15 00:54 | 50.006 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rc4 | 4 | 0 | 0 | 1 | 1 | 1
V1111427 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 13 | 28 | NA | NA |  | NA | NA | NA | Response Low | 0.73885 | Area |  | 28333130.7604 | 10684326.1478 | 38347512.5605 | 13589321.7465 | 28.7243 | 1.0022 | -0.064266 | 2240412.8258 | 28.6518 | 28.7788 | 5124.8465 | 9428.3801 | BB | 300 | 3 | 1 | 2011-01-15 04:26 | 50.0075 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rc6 | 4 | 0 | 0 | 1 | 1 | 1
V1111430 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 16 | 31 | NA | NA |  | NA | NA | NA | Response Low | 0.56305 | Area |  | 24958361.4375 | 11054058.7159 | 44327130.4056 | 20098998.7825 | 28.6297 | 0.99894 | 0.03035 | 7057940.9368 | 28.5751 | 28.7201 | 36591.5767 | 5913.0744 | BB | 300 | 3 | 1 | 2011-01-15 06:12 | 50.0043 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rc7 | 4 | 0 | 0 | 1 | 1 | 1
V1111433 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 19 | 34 | NA | NA |  | NA | NA | NA | Response Low | 0.28058 | Area |  | 12751843.0378 | 5312795.9153 | 45448801.709 | 18222974.0009 | 28.6898 | 1.001 | -0.029783 | 3964697.2453 | 28.6355 | 28.7443 | 14750.4207 | 3235.5248 | BB | 300 | 3 | 1 | 2011-01-15 07:58 | 50.0115 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rc8 | 4 | 0 | 0 | 1 | 1 | 1
V1111436 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 43 | 37 | NA | NA |  | NA | NA | NA | Response Low | 0.77997 | Area |  | 35877931.5317 | 14371319.7942 | 45998995.9007 | 18275374.7069 | 28.5794 | 0.99719 | 0.080584 | 13750718.6039 | 28.5068 | 28.6518 | -0.59974 | 62070.9984 | BB | 300 | 3 | 1 | 2011-01-15 09:44 | 50.0103 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rd1 | 4 | 0 | 0 | 1 | 1 | 1
V1111439 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 46 | 40 | NA | NA |  | NA | NA | NA | Response Low | 0.46042 | Area |  | 12457137.5024 | 2944808.4256 | 27055813.3135 | 6449843.2375 | 28.6149 | 0.99843 | 0.045099 | 1979671.5855 | 28.5425 | 28.8327 | 178.0953 | 6439.233 | BB | 300 | 3 | 1 | 2011-01-15 11:31 | 50.0097 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rd2 | 4 | 0 | 0 | 1 | 1 | 1
V1111442 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 49 | 43 | NA | NA |  | NA | NA | NA | Response Low | 0.76993 | Area |  | 27756448.951 | 10023099.7651 | 36050656.3188 | 12655083.7041 | 28.7772 | 1.0041 | -0.11717 | 12357274.4862 | 28.7048 | 28.8496 | 3747.7856 | 2994.6493 | BB | 300 | 3 | 1 | 2011-01-15 13:17 | 50.0056 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rd3 | 4 | 0 | 0 | 1 | 1 | 1
V1111445 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 73 | 46 | NA | NA |  | NA | NA | NA | Response Low | 0.50332 | Area |  | 24677197.4868 | 7853804.7067 | 49028607.2307 | 15635690.7065 | 28.6511 | 0.99969 | 0.008917 | 7215399.6046 | 28.5784 | 28.7236 | 302.8772 | 34382.5962 | BB | 300 | 3 | 1 | 2011-01-15 15:03 | 50.0076 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rd4 | 4 | 0 | 0 | 1 | 1 | 1
V1111448 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 76 | 49 | NA | NA |  | NA | NA | NA | Response Low | 0.47113 | Area |  | 9515330.1121 | 2214131.1943 | 20196849.455 | 4451732.1398 | 28.6326 | 0.99905 | 0.027367 | 826246.9387 | 28.524 | 28.7412 | -0.23828 | 9166.5051 | BB | 300 | 3 | 1 | 2011-01-15 16:48 | 50.0069 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rd5 | 4 | 0 | 0 | 1 | 1 | 1
V1111451 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 79 | 52 | NA | NA |  | NA | NA | NA | Response Low | 0.18518 | Area |  | 6828127.732 | 2817941.3613 | 36873369.6248 | 14420424.6945 | 28.689 | 1.001 | -0.028967 | 1819513.0319 | 28.6163 | 28.7435 | 1.1939 | -0.49163 | BB | 300 | 3 | 1 | 2011-01-15 18:34 | 50.0098 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rd6 | 4 | 0 | 0 | 1 | 1 | 1
V1111454 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 103 | 55 | NA | NA |  | NA | NA | NA | Response Low | 0.56901 | Area |  | 18447209.1348 | 5250626.5448 | 32419752.8984 | 8815065.5589 | 28.4707 | 0.99339 | 0.18932 | 2891777.1219 | 28.3801 | 28.5431 | 907.1956 | 22192.1072 | BB | 300 | 3 | 1 | 2011-01-15 20:20 | 50.0041 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rd7 | 4 | 0 | 0 | 1 | 1 | 1
V1111457 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 106 | 58 | NA | NA |  | NA | NA | NA | Response Low | 0.44827 | Area |  | 14026240.9889 | 3862324.173 | 31289569.5484 | 8601357.6775 | 28.6325 | 0.99904 | 0.027533 | 2746214.0565 | 28.5419 | 28.7231 | 339.2398 | 13726.2729 | BB | 300 | 3 | 1 | 2011-01-15 22:06 | 50.0099 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rd8 | 4 | 0 | 0 | 1 | 1 | 1
V1111460 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 109 | 61 | NA | NA |  | NA | NA | NA | Response Low | 0.57147 | Area |  | 11758294.6142 | 3204586.7188 | 20575601.4611 | 5463626.5093 | 28.5778 | 0.99713 | 0.082184 | 465551.1973 | 28.5054 | 28.7048 | 780.509 | 7694.2926 | BB | 300 | 3 | 1 | 2011-01-15 23:52 | 50.0095 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | re1 | 4 | 0 | 0 | 1 | 1 | 1
V1111504 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 23 | 70 | NA | NA |  | NA | NA | NA | Response Low | 0.73105 | Area |  | 21553571.8112 | 5247786.2175 | 29483070.7058 | 7240661.1805 | 28.3982 | 0.99086 | 0.26182 | 5499207.3773 | 28.3258 | 28.5252 | 17432.135 | 12671.6763 | BB | 300 | 3 | 1 | 2011-01-16 05:10 | 50.0073 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | re3 | 4 | 0 | 0 | 1 | 1 | 1
V1111507 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 26 | 73 | NA | NA |  | NA | NA | NA | Response Low | 0.48804 | Area |  | 19676425.2039 | 6290659.1756 | 40317072.9656 | 13267059.7546 | 28.7069 | 1.0016 | -0.046949 | 6996504.7829 | 28.6343 | 28.7794 | 114.1712 | 21105.3312 | BB | 300 | 3 | 1 | 2011-01-16 06:56 | 50.0069 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | re4 | 4 | 0 | 0 | 1 | 1 | 1
V1111510 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 29 | 76 | NA | NA |  | NA | NA | NA | Response Low | 0.26009 | Area |  | 10790570.3744 | 2399947.6397 | 41488357.7033 | 9717307.5682 | 28.4504 | 0.99269 | 0.20962 | 1796571.6096 | 28.3417 | 28.5774 | 888.4413 | 3993.7587 | BB | 300 | 3 | 1 | 2011-01-16 08:42 | 50.0058 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | re5 | 4 | 0 | 0 | 1 | 1 | 1
V1111513 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 53 | 79 | NA | NA |  | NA | NA | NA | Response Low | 0.8795 | Area |  | 25264180.1986 | 8379181.5969 | 28725605.2638 | 9803407.6818 | 28.5427 | 0.99591 | 0.1173 | 5210424.3318 | 28.4701 | 28.6334 | 433.3564 | 19585.0525 | BB | 300 | 3 | 1 | 2011-01-16 10:28 | 50.0096 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | re6 | 4 | 0 | 0 | 1 | 1 | 1
V1111516 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 56 | 82 | NA | NA |  | NA | NA | NA | Response Low | 0.45465 | Area |  | 16632900.7953 | 3589341.5487 | 36583599.0464 | 7795361.9643 | 28.4144 | 0.99143 | 0.24558 | 2069569.6785 | 28.2876 | 28.5232 | 177.494 | 13846.1019 | BB | 300 | 3 | 1 | 2011-01-16 12:14 | 50.0081 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | re7 | 4 | 0 | 0 | 1 | 1 | 1
V1111519 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 59 | 85 | NA | NA |  | NA | NA | NA | Response Low | 0.74471 | Area |  | 35135899.2361 | 12308495.3366 | 47180433.6931 | 15907289.8025 | 28.3969 | 0.99082 | 0.26312 | 2866896.5525 | 28.3244 | 28.4693 | 15731.4696 | 18069.3696 | BB | 300 | 3 | 1 | 2011-01-16 14:00 | 50.0062 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rb1 | 4 | 0 | 0 | 1 | 1 | 1
V1111522 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 83 | 88 | NA | NA |  | NA | NA | NA | Response Low | 0.4859 | Area |  | 14532200.1321 | 3229926.2109 | 29907843.1229 | 6618493.9517 | 28.7595 | 1.0035 | -0.099451 | 1772405.1912 | 28.6688 | 28.9047 | 0.54933 | 1263.459 | BB | 300 | 3 | 1 | 2011-01-16 15:46 | 50.0088 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rb2 | 4 | 0 | 0 | 1 | 1 | 1
V1111525 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 86 | 91 | NA | NA |  | NA | NA | NA | Response Low | 0.46153 | Area |  | 16234235.3251 | 3751654.5686 | 35175023.0023 | 8401064.7676 | 28.5239 | 0.99525 | 0.13613 | 3581794.2257 | 28.4332 | 28.6325 | 14558.1978 | 12072.482 | BB | 300 | 3 | 1 | 2011-01-16 17:32 | 50.008 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rb3 | 4 | 0 | 0 | 1 | 1 | 1
V1111528 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 89 | 94 | NA | NA |  | NA | NA | NA | Response Low | 0.20276 | Area |  | 7225262.7526 | 1509404.8041 | 35634392.5689 | 7703773.203 | 28.6172 | 0.99851 | 0.042767 | 1297495.8019 | 28.49 | 28.7261 | 0.38988 | 281.8666 | BB | 300 | 3 | 1 | 2011-01-16 19:18 | 50.0099 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rb4 | 4 | 0 | 0 | 1 | 1 | 1
V1111531 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 113 | 97 | NA | NA |  | NA | NA | NA | Response Low | 0.50964 | Area |  | 17248484.6304 | 4623148.5239 | 33844385.1828 | 9060756.5869 | 28.5222 | 0.99519 | 0.1378 | 2388292.3298 | 28.4317 | 28.6129 | 9910.4376 | 67.6894 | BB | 300 | 3 | 1 | 2011-01-16 21:03 | 50.0065 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rb5 | 4 | 0 | 0 | 1 | 1 | 1
V1111534 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 116 | 100 | NA | NA |  | NA | NA | NA | Response Low | 0.41695 | Area |  | 22865611.8213 | 7426399.4869 | 54839954.4172 | 17423893.5745 | 28.4304 | 0.99199 | 0.2296 | 1578788.0726 | 28.358 | 28.503 | 12919.5323 | 23805.9874 | BB | 300 | 3 | 1 | 2011-01-16 22:49 | 50.0064 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rb6 | 4 | 0 | 0 | 1 | 1 | 1
V1111537 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 119 | 103 | NA | NA |  | NA | NA | NA | Response Low | 0.54177 | Area |  | 21132913.6177 | 9168508.7361 | 39007487.5637 | 16965923.4536 | 28.6146 | 0.99841 | 0.045433 | 2459502.2891 | 28.5603 | 28.687 | 22980.6942 | 3791.0415 | BB | 300 | 3 | 1 | 2011-01-17 00:35 | 50.0079 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rb7 | 4 | 0 | 0 | 1 | 1 | 1