## AMY2B_Native
Component Name |  | Curve Index | Weighting Index | Origin Index | Equation
AMY2B_Native |  |  |  |  | NA
Filename | Sample Type | Sample Name | Sample ID | Exp Amt | Calc Amt | Units | %Diff | Level | %RSD-AMT | Peak Status | Response Ratio | Response Type | Equation | Area | Height | ISTD Area | ISTD Ht | RT | Rel RT | Del RT | S/N | Start Time | End Time | Start Height | End Height | Integ Code | Search Window | Threshold | Smooth | Acq Date | Duration | Exp Method | Proc Method | Vial | Inj Vol | Sample Wt | Sample Vol | ISTD Base Amt | ISTD Calc Amt | Dilution Factor | Study | Client | Laboratory | Company | Phone | Comment
V1110711 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 1 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.47655 | Area |  | 9445471.0149 | 2603025.9939 | 19820476.186 | 5959134.2174 | 28.9628 | 1.0071 | -0.20278 | 456644.6957 | 28.8904 | 29.1258 | 10663.4143 | 6922.3661 | BB | 300 | 3 | 1 | 2011-01-07 19:32 | 50.0077 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rb2 | 4 | 0 | 0 | 1 | 1 | 1
V1110714 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 4 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.3062 | Area |  | 3453632.1647 | 697740.1779 | 11278906.8669 | 2369984.0047 | 29.3613 | 1.0209 | -0.60127 | 230476.5412 | 29.2706 | 29.5608 | 1053.5134 | 784.4388 | BB | 300 | 3 | 1 | 2011-01-07 21:18 | 50.0065 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rb3 | 4 | 0 | 0 | 1 | 1 | 1
V1110717 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 7 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.46787 | Area |  | 12075465.8126 | 2931202.9222 | 25809279.2795 | 6463249.5535 | 29.2512 | 1.0171 | -0.49118 | 1882689.2714 | 29.1606 | 29.4143 | 3854.9699 | 10115.6238 | BB | 300 | 3 | 1 | 2011-01-07 23:05 | 50.0033 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rb4 | 4 | 0 | 0 | 1 | 1 | 1
V1110723 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 34 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.18115 | Area |  | 2191694.1459 | 496691.9399 | 12098535.0841 | 2976498.5326 | 29.273 | 1.0178 | -0.513 | 257806.4112 | 29.1824 | 29.3637 | -0.44406 | -0.67384 | BB | 300 | 3 | 1 | 2011-01-08 02:36 | 50.0105 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rb6 | 4 | 0 | 0 | 1 | 1 | 1
V1110729 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 61 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.23716 | Area |  | 4717153.6683 | 963763.8144 | 19890526.4463 | 3593864.8146 | 29.1102 | 1.0122 | -0.3502 | 548556.2074 | 28.9469 | 29.2735 | 3658.7726 | 1804.8505 | BB | 300 | 3 | 1 | 2011-01-08 06:08 | 50.0082 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rb8 | 4 | 0 | 0 | 1 | 1 | 1
V1110732 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 64 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.36743 | Area |  | 10634978.7217 | 2261511.186 | 28944006.5123 | 6475138.4983 | 28.8374 | 1.0027 | -0.0774 | 649874.392 | 28.7467 | 29.0005 | 6515.4178 | 9950.2726 | BB | 300 | 3 | 1 | 2011-01-08 07:54 | 50.0109 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rc1 | 4 | 0 | 0 | 1 | 1 | 1
V1110738 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 91 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.43303 | Area |  | 1433434.0859 | 453055.6276 | 3310234.1966 | 817562.4037 | 29.4369 | 1.0235 | -0.67687 | 174658.1432 | 29.3642 | 29.6362 | 2.2184 | 0.42015 | BB | 300 | 3 | 1 | 2011-01-08 11:26 | 50.0114 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rc3 | 4 | 0 | 0 | 1 | 1 | 1
V1110741 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 94 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.78328 | Area |  | 1045540.9377 | 331653.739 | 1334832.3997 | 340173.536 | 28.9797 | 1.0076 | -0.21975 | 71525.9178 | 28.9073 | 29.0703 | 869.5401 | 432.058 | BB | 300 | 3 | 1 | 2011-01-08 13:12 | 50.0047 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rc4 | 4 | 0 | 0 | 1 | 1 | 1
V1110744 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 97 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.32853 | Area |  | 6274860.7061 | 1171085.028 | 19099643.2584 | 3538081.625 | 28.8878 | 1.0044 | -0.12777 | 1491627.9621 | 28.7972 | 29.0691 | 2726.8765 | 1.0156 | BB | 300 | 3 | 1 | 2011-01-08 14:58 | 50.0043 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rc5 | 4 | 0 | 0 | 1 | 1 | 1
V1110753 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 11 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.46977 | Area |  | 1866568.3145 | 315698.9266 | 3973347.4839 | 651029.7864 | 29.1054 | 1.012 | -0.34535 | 130557.5201 | 28.9783 | 29.2142 | 108.5957 | 1.8469 | BB | 300 | 3 | 1 | 2011-01-08 20:16 | 50.0047 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rc7 | 4 | 0 | 0 | 1 | 1 | 1
V1110756 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 14 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.31788 | Area |  | 6149706.4687 | 1192039.3398 | 19345960.627 | 3775374.9141 | 28.9634 | 1.0071 | -0.2034 | 927236.2209 | 28.8545 | 29.1083 | 43.4706 | 2824.3779 | BB | 300 | 3 | 1 | 2011-01-08 22:02 | 50.0074 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rc8 | 4 | 0 | 0 | 1 | 1 | 1
V1110759 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 17 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.5392 | Area |  | 14418729.6489 | 2905174.4906 | 26740819.7511 | 5426869.7586 | 28.9468 | 1.0065 | -0.18685 | 1787873.6134 | 28.8742 | 29.1644 | 7285.9174 | 8505.1403 | BB | 300 | 3 | 1 | 2011-01-08 23:48 | 50.0083 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rd1 | 4 | 0 | 0 | 1 | 1 | 1
V1110762 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 41 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.39288 | Area |  | 8972292.1547 | 1803129.8801 | 22837522.4915 | 4740308.5726 | 28.9454 | 1.0064 | -0.18537 | 952897.8952 | 28.8363 | 29.1085 | 386.5365 | 8991.9152 | BB | 300 | 3 | 1 | 2011-01-09 01:34 | 50.007 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rd2 | 4 | 0 | 0 | 1 | 1 | 1
V1110765 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 44 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.19076 | Area |  | 2135651.5652 | 457798.4033 | 11195691.1455 | 2175886.3986 | 28.9655 | 1.0071 | -0.20548 | 203459.7762 | 28.8745 | 29.1105 | 1556.4751 | 1295.8409 | BB | 300 | 3 | 1 | 2011-01-09 03:20 | 50.0096 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rd3 | 4 | 0 | 0 | 1 | 1 | 1
V1110768 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 47 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.26889 | Area |  | 6785206.9448 | 1257181.9616 | 25234418.1887 | 4605709.275 | 28.9977 | 1.0083 | -0.2377 | 1047660.1838 | 28.8709 | 29.1247 | 551.0327 | 35.5554 | BB | 300 | 3 | 1 | 2011-01-09 05:06 | 50.0045 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rd4 | 4 | 0 | 0 | 1 | 1 | 1
V1110771 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 71 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.25194 | Area |  | 7420306.0184 | 1451362.8443 | 29452994.3938 | 6073386.5405 | 28.9103 | 1.0052 | -0.15028 | 283241.7689 | 28.7831 | 29.0734 | 681.1344 | 886.6546 | BB | 300 | 3 | 1 | 2011-01-09 06:52 | 50.0101 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rd5 | 4 | 0 | 0 | 1 | 1 | 1
V1110774 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 74 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.35463 | Area |  | 13211044.5483 | 2360943.24 | 37253228.3978 | 6727482.9101 | 28.9051 | 1.005 | -0.14508 | 776760.38 | 28.7782 | 29.0138 | 401.9893 | 10731.3795 | BB | 300 | 3 | 1 | 2011-01-09 08:37 | 50.0033 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rd6 | 4 | 0 | 0 | 1 | 1 | 1
V1110777 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 37_2 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.25203 | Area |  | 7737010.935 | 1479614.9944 | 30699358.9669 | 6063338.3229 | 28.9633 | 1.0071 | -0.20332 | 1678577.1867 | 28.8184 | 29.0721 | 593.362 | 5404.8955 | BB | 300 | 3 | 1 | 2011-01-09 10:23 | 50.0086 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rb7 | 4 | 0 | 0 | 1 | 1 | 1
V1110780 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 31_2 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.38999 | Area |  | 9562796.9294 | 1879712.8507 | 24520610.3195 | 5285480.6032 | 28.9412 | 1.0063 | -0.18118 | 542313.2529 | 28.8144 | 29.1224 | 28.2602 | 4454.4863 | BB | 300 | 3 | 1 | 2011-01-09 12:10 | 50.0058 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rb5 | 4 | 0 | 0 | 1 | 1 | 1
V1110783 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 67_2 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.2659 | Area |  | 8419781.2096 | 1698685.5425 | 31665277.1466 | 6446061.4416 | 28.9438 | 1.0064 | -0.18378 | 1301749.1023 | 28.8169 | 29.0709 | 2439.856 | 3423.5571 | BB | 300 | 3 | 1 | 2011-01-09 13:55 | 50.0049 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rc2 | 4 | 0 | 0 | 1 | 1 | 1
V1110906 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 77 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.21165 | Area |  | 5683064.0773 | 706108.4531 | 26851596.1108 | 3626188.2975 | 29.2566 | 1.0173 | -0.49662 | 129374.7607 | 29.1113 | 29.4197 | 1041.417 | 522.2328 | BB | 300 | 3 | 1 | 2011-01-09 18:26 | 50.011 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rd7 | 4 | 0 | 0 | 1 | 1 | 1
V1110909 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 101 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.36725 | Area |  | 8188557.4072 | 1046015.3857 | 22296978.259 | 3069057.2305 | 29.108 | 1.0121 | -0.34795 | 193798.9182 | 28.9265 | 29.2712 | 42.5485 | 1.5899 | BB | 300 | 3 | 1 | 2011-01-09 20:12 | 50.0081 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rd8 | 4 | 0 | 0 | 1 | 1 | 1
V1110912 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 104 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.44207 | Area |  | 11653912.5892 | 1657013.8718 | 26361957.9778 | 3768342.3002 | 29.1263 | 1.0127 | -0.36627 | 1257669.7233 | 28.9811 | 29.2712 | 3652.4527 | 6905.5503 | BB | 300 | 3 | 1 | 2011-01-09 21:58 | 50.0092 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | re1 | 4 | 0 | 0 | 1 | 1 | 1
V1110915 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 107 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.33127 | Area |  | 8300901.0699 | 1048652.8348 | 25057921.3361 | 3105921.2412 | 29.1439 | 1.0133 | -0.38393 | 364367.6525 | 28.9627 | 29.3613 | 5239.4667 | 4165.3608 | BB | 300 | 3 | 1 | 2011-01-09 23:43 | 50.0054 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | re2 | 4 | 0 | 0 | 1 | 1 | 1
V1110921 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 21 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.48276 | Area |  | 14482011.0641 | 1540534.8978 | 29998171.9203 | 3370061.7862 | 29.4005 | 1.0223 | -0.64048 | 1258214.3741 | 29.201 | 29.6539 | 1387.0191 | 2021.9222 | BB | 300 | 3 | 1 | 2011-01-10 03:16 | 50.0098 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rb2 | 4 | 0 | 0 | 1 | 1 | 1
V1110924 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 24 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.30734 | Area |  | 8487519.2317 | 1016656.2402 | 27616433.3462 | 3245152.9049 | 29.2901 | 1.0184 | -0.53008 | 1112624.8322 | 29.1088 | 29.58 | 2369.0839 | -0.19953 | BB | 300 | 3 | 1 | 2011-01-10 05:01 | 50.0113 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rb3 | 4 | 0 | 0 | 1 | 1 | 1
V1110927 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 27 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.48925 | Area |  | 21311937.5114 | 2608976.4892 | 43560394.2853 | 5366743.2056 | 29.2358 | 1.0165 | -0.47575 | 2443779.7176 | 29.0909 | 29.3988 | 12639.2727 | 11716.2863 | BB | 300 | 3 | 1 | 2011-01-10 06:47 | 50.0108 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rb4 | 4 | 0 | 0 | 1 | 1 | 1
V1110930 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 51 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.40926 | Area |  | 6652760.0428 | 967769.3808 | 16255413.3387 | 2273599.5151 | 29.3784 | 1.0215 | -0.61843 | 205820.8897 | 29.2154 | 29.5051 | 31.9752 | 3121.6372 | BB | 300 | 3 | 1 | 2011-01-10 08:33 | 50.0065 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rb5 | 4 | 0 | 0 | 1 | 1 | 1
V1110933 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 54 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.19741 | Area |  | 8010397.433 | 1074652.4157 | 40578136.4862 | 5403797.432 | 29.434 | 1.0234 | -0.67405 | 405067.4732 | 29.2891 | 29.6516 | 428.338 | 1526.9844 | BB | 300 | 3 | 1 | 2011-01-10 10:19 | 50.0061 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rb6 | 4 | 0 | 0 | 1 | 1 | 1
V1110936 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 57 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.24865 | Area |  | 2015548.5421 | 261098.4332 | 8105992.2635 | 1049101.9792 | 29.6512 | 1.031 | -0.89122 | 270776.3186 | 29.5064 | 29.7962 | 835.9579 | 401.3067 | BB | 300 | 3 | 1 | 2011-01-10 12:05 | 50.0088 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rb7 | 4 | 0 | 0 | 1 | 1 | 1
V1110939 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 81 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.2776 | Area |  | 6736681.107 | 778671.7308 | 24267358.1995 | 2614215.5884 | 29.272 | 1.0178 | -0.51197 | 567303.9935 | 29.0546 | 29.4713 | 315.9442 | 1553.8287 | BB | 300 | 3 | 1 | 2011-01-10 13:51 | 50.0067 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rb8 | 4 | 0 | 0 | 1 | 1 | 1
V1110942 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 84 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.38447 | Area |  | 15775067.9615 | 2263997.2866 | 41031148.0629 | 5425644.4656 | 29.2714 | 1.0178 | -0.5114 | 814316.0011 | 29.108 | 29.4167 | 1802.5132 | 7927.3791 | BB | 300 | 3 | 1 | 2011-01-10 15:37 | 50.0072 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rc1 | 4 | 0 | 0 | 1 | 1 | 1
V1110945 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 87 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.21836 | Area |  | 8297471.6663 | 1064641.8196 | 37999290.3094 | 4884201.0978 | 29.3234 | 1.0196 | -0.5634 | 1425169.5816 | 29.1604 | 29.4869 | 4755.9262 | 499.0636 | BB | 300 | 3 | 1 | 2011-01-10 17:23 | 50.0047 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rc2 | 4 | 0 | 0 | 1 | 1 | 1
V1110948 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 111 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.31791 | Area |  | 7110108.7944 | 854914.0171 | 22364982.3899 | 2521643.091 | 29.2514 | 1.0171 | -0.49137 | 622629.6327 | 29.0154 | 29.4147 | 3294.3217 | 0.051019 | BB | 300 | 3 | 1 | 2011-01-10 19:09 | 50.0066 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rc3 | 4 | 0 | 0 | 1 | 1 | 1
V1110951 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 114 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.42164 | Area |  | 16229777.7198 | 2222183.7272 | 38492415.827 | 5006550.8277 | 29.3255 | 1.0197 | -0.56547 | 2115219.215 | 29.1805 | 29.4885 | 7062.3794 | 4116.0456 | BB | 300 | 3 | 1 | 2011-01-10 20:55 | 50.0055 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rc4 | 4 | 0 | 0 | 1 | 1 | 1
V1110954 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 117 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.31328 | Area |  | 8077169.9044 | 1017707.1923 | 25782496.7645 | 3038010.3173 | 29.2338 | 1.0165 | -0.47378 | 206795.194 | 29.0158 | 29.3788 | 2326.8053 | 3469.9782 | BB | 300 | 3 | 1 | 2011-01-10 22:41 | 50.0088 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rc5 | 4 | 0 | 0 | 1 | 1 | 1
V1110963 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 2 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.53103 | Area |  | 15214803.3948 | 1897917.416 | 28651374.8062 | 3653700.9129 | 29.1608 | 1.0139 | -0.40083 | 287112.7539 | 29.0159 | 29.3967 | 4659.2778 | 8865.812 | BB | 300 | 3 | 1 | 2011-01-11 03:59 | 50.0067 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rc7 | 4 | 0 | 0 | 1 | 1 | 1
V1110969 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 8 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.43473 | Area |  | 15617833.9493 | 2124224.0789 | 35925154.4079 | 4657607.6024 | 29.2171 | 1.0159 | -0.45707 | 1894301.4448 | 29.0722 | 29.3985 | 2697.1319 | 1057.6908 | BB | 300 | 3 | 1 | 2011-01-11 07:31 | 50.0079 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rd1 | 4 | 0 | 0 | 1 | 1 | 1
V1110972 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 32 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.48823 | Area |  | 9237091.206 | 1395960.1285 | 18919382.6102 | 2772708.7857 | 29.3067 | 1.019 | -0.54673 | 231987.8371 | 29.1434 | 29.47 | 45.0889 | 6286.1911 | BB | 300 | 3 | 1 | 2011-01-11 09:17 | 50.0054 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rd2 | 4 | 0 | 0 | 1 | 1 | 1
V1110975 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 35 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.27148 | Area |  | 7236869.4 | 1007881.0748 | 26656879.4733 | 4206576.5942 | 29.1085 | 1.0121 | -0.34848 | 369349.0671 | 28.9271 | 29.2356 | -0.26513 | 2481.2677 | BB | 300 | 3 | 1 | 2011-01-11 11:02 | 50.0091 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rd3 | 4 | 0 | 0 | 1 | 1 | 1
V1110978 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 38 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.34341 | Area |  | 8931646.8299 | 1304246.7823 | 26008506.7288 | 4001793.4284 | 29.0545 | 1.0102 | -0.29453 | 295312.5972 | 28.8913 | 29.2177 | -1.5373 | 5297.0426 | BB | 300 | 3 | 1 | 2011-01-11 12:48 | 50.0085 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rd4 | 4 | 0 | 0 | 1 | 1 | 1
V1111106 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 5_2 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.45185 | Area |  | 10575062.2176 | 1957661.7301 | 23404082.7415 | 4110114.0289 | 29.9074 | 1.0399 | -1.1474 | 495450.9588 | 29.7806 | 30.0163 | 3112.0723 | 4707.6492 | BB | 300 | 3 | 1 | 2011-01-11 17:06 | 50.0103 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rc8 | 4 | 0 | 0 | 1 | 1 | 1
V1111109 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 62 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.25706 | Area |  | 7430513.5554 | 1322350.4416 | 28905403.3793 | 5557153.9381 | 29.7255 | 1.0336 | -0.9655 | 207011.7445 | 29.5987 | 29.8344 | 1459.3617 | 3087.3 | BB | 300 | 3 | 1 | 2011-01-11 18:52 | 50.0077 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rb1 | 4 | 0 | 0 | 1 | 1 | 1
V1111112 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 65 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.43948 | Area |  | 6602028.9187 | 1084479.1261 | 15022456.9002 | 2766156.2886 | 30.0515 | 1.0449 | -1.2915 | 749449.998 | 29.9605 | 30.2327 | 4225.1975 | 58.1372 | BB | 300 | 3 | 1 | 2011-01-11 20:38 | 50.0074 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rb2 | 4 | 0 | 0 | 1 | 1 | 1
V1111115 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 68 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.30409 | Area |  | 8236861.0367 | 1366398.9358 | 27087228.3788 | 4739973.1914 | 29.6171 | 1.0298 | -0.85715 | 1252679.1584 | 29.4721 | 29.744 | 0.0069129 | 1243.1302 | BB | 300 | 3 | 1 | 2011-01-11 22:24 | 50.0072 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rb3 | 4 | 0 | 0 | 1 | 1 | 1
V1111118 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 92 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.38841 | Area |  | 8259473.4234 | 1436411.263 | 21264920.5689 | 4203003.5774 | 29.5804 | 1.0285 | -0.82037 | 1015479.414 | 29.4715 | 29.7253 | 324.1468 | 734.2798 | BB | 300 | 3 | 1 | 2011-01-12 00:10 | 50.0083 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rb4 | 4 | 0 | 0 | 1 | 1 | 1
V1111121 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 95 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.43971 | Area |  | 14739675.0265 | 2779269.5661 | 33521276.7343 | 6183016.7088 | 29.6168 | 1.0298 | -0.85675 | 2022113.6668 | 29.4899 | 29.7257 | 10255.7609 | 2517.2633 | BB | 300 | 3 | 1 | 2011-01-12 01:56 | 50.0087 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rb5 | 4 | 0 | 0 | 1 | 1 | 1
V1111124 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 98 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.35632 | Area |  | 12753271.3229 | 2287630.7957 | 35791897.9334 | 6291235.059 | 29.5261 | 1.0266 | -0.76612 | 2071136.3664 | 29.3994 | 29.6532 | 620.1489 | 351.0832 | BB | 300 | 3 | 1 | 2011-01-12 03:42 | 50.0115 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rb6 | 4 | 0 | 0 | 1 | 1 | 1
V1111127 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 12 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.52415 | Area |  | 12789757.2022 | 2067851.3146 | 24401009.8628 | 4125185.3361 | 29.5644 | 1.028 | -0.80445 | 920248.6007 | 29.4375 | 29.7277 | 2460.1899 | 903.921 | BB | 300 | 3 | 1 | 2011-01-12 05:28 | 50.0084 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rb7 | 4 | 0 | 0 | 1 | 1 | 1
V1111130 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 15 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.52314 | Area |  | 13706439.6206 | 2649562.4764 | 26200084.7248 | 4742127.1348 | 29.6498 | 1.0309 | -0.88983 | 427063.4467 | 29.5229 | 29.7586 | 8604.1254 | 3844.7079 | BB | 300 | 3 | 1 | 2011-01-12 07:14 | 50.0027 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rb8 | 4 | 0 | 0 | 1 | 1 | 1
V1111133 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 18 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.50104 | Area |  | 10986596.7891 | 2005223.1567 | 21927550.3359 | 4198100.3722 | 29.7609 | 1.0348 | -1.0009 | 1155063.1252 | 29.6704 | 29.924 | 4300.0928 | 8203.6089 | BB | 300 | 3 | 1 | 2011-01-12 09:00 | 50.0076 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rc1 | 4 | 0 | 0 | 1 | 1 | 1
V1111136 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 42 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.46567 | Area |  | 10052024.543 | 1772589.0299 | 21586042.586 | 3541285.1191 | 29.54 | 1.0271 | -0.78 | 378046.009 | 29.4495 | 29.7211 | 2089.4979 | 1641.652 | BB | 300 | 3 | 1 | 2011-01-12 10:46 | 50.0054 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rc2 | 4 | 0 | 0 | 1 | 1 | 1
V1111139 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 45 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.24228 | Area |  | 7795510.9536 | 1358530.7778 | 32174984.5712 | 5809904.9171 | 29.9414 | 1.0411 | -1.1814 | 219973.4972 | 29.8147 | 30.0683 | 519.6868 | 2334.3861 | BB | 300 | 3 | 1 | 2011-01-12 12:32 | 50.0059 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rc3 | 4 | 0 | 0 | 1 | 1 | 1
V1111142 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 48 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.3563 | Area |  | 9261787.7592 | 1801158.8634 | 25994513.9183 | 5112488.4848 | 29.6334 | 1.0304 | -0.87343 | 904668.4165 | 29.5063 | 29.7421 | 111.5464 | 3432.1532 | BB | 300 | 3 | 1 | 2011-01-12 14:17 | 50.0036 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rc4 | 4 | 0 | 0 | 1 | 1 | 1
V1111201 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 72 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.22821 | Area |  | 8175901.3049 | 1603932.5385 | 35825768.306 | 7034525.1509 | 29.7204 | 1.0334 | -0.96045 | 264116.6416 | 29.6118 | 29.8294 | 2370.4806 | 4.4382 | BB | 300 | 3 | 1 | 2011-01-12 16:03 | 50.0056 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rc5 | 4 | 0 | 0 | 1 | 1 | 1
V1111204 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 75 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.43237 | Area |  | 13904399.1835 | 2799658.3882 | 32158853.2542 | 6119230.0234 | 29.6525 | 1.031 | -0.89253 | 574647.1745 | 29.5437 | 29.7613 | 5135.7981 | 10738.5711 | BB | 300 | 3 | 1 | 2011-01-12 17:50 | 50.006 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rc6 | 4 | 0 | 0 | 1 | 1 | 1
V1111207 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 78 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.27965 | Area |  | 9462753.5206 | 2092225.5709 | 33837368.17 | 6962407.1076 | 29.5807 | 1.0285 | -0.82067 | 1815362.0575 | 29.4718 | 29.6893 | 8223.6178 | 4530.2731 | BB | 300 | 3 | 1 | 2011-01-12 19:35 | 50.0078 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rc7 | 4 | 0 | 0 | 1 | 1 | 1
V1111210 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 102 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.44443 | Area |  | 2864024.3018 | 495798.3498 | 6444247.1786 | 1244477.9043 | 29.9988 | 1.0431 | -1.2388 | 474457.8287 | 29.89 | 30.1439 | 366.3133 | 148.7231 | BB | 300 | 3 | 1 | 2011-01-12 21:21 | 50.0098 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rc8 | 4 | 0 | 0 | 1 | 1 | 1
V1111213 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 105 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.52398 | Area |  | 17102522.7712 | 3167200.7221 | 32639733.0396 | 5982516.1037 | 29.5595 | 1.0278 | -0.79945 | 1068364.6669 | 29.4326 | 29.6501 | 10094.8508 | 4992.0514 | BB | 300 | 3 | 1 | 2011-01-12 23:07 | 50.0066 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rd1 | 4 | 0 | 0 | 1 | 1 | 1
V1111216 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 108 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.34874 | Area |  | 8144913.2799 | 1577785.4113 | 23355294.4524 | 4400394.2209 | 29.5795 | 1.0285 | -0.8195 | 1779138.6303 | 29.4887 | 29.7246 | 3404.6416 | 842.4659 | BB | 300 | 3 | 1 | 2011-01-13 00:53 | 50.0077 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rd2 | 4 | 0 | 0 | 1 | 1 | 1
V1111222 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 25 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.42968 | Area |  | 11197841.0017 | 2045291.045 | 26060719.693 | 4840853.1132 | 29.7483 | 1.0344 | -0.98827 | 1055327.0932 | 29.6395 | 29.8935 | 6063.2183 | 5529.8858 | BB | 300 | 3 | 1 | 2011-01-13 04:25 | 50.0134 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rd4 | 4 | 0 | 0 | 1 | 1 | 1
V1111225 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 28 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.45233 | Area |  | 10503994.594 | 1858871.9746 | 23221811.6465 | 4222228.7645 | 29.6356 | 1.0304 | -0.87563 | 1087666.8985 | 29.4906 | 29.7445 | 2.6195 | 4932.4236 | BB | 300 | 3 | 1 | 2011-01-13 06:11 | 50.0101 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rd5 | 4 | 0 | 0 | 1 | 1 | 1
V1111228 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 52 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.50561 | Area |  | 6183921.4319 | 1033895.3726 | 12230644.7144 | 2016829.3299 | 29.3795 | 1.0215 | -0.61948 | 877477.1064 | 29.2524 | 29.4883 | 3852.0448 | 3073.4112 | BB | 300 | 3 | 1 | 2011-01-13 07:57 | 50.0067 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rd6 | 4 | 0 | 0 | 1 | 1 | 1
V1111231 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 55 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.26591 | Area |  | 3957011.1157 | 718761.9071 | 14881225.102 | 2468008.6113 | 29.8902 | 1.0393 | -1.1302 | 499900.0623 | 29.7813 | 29.999 | 897.3347 | 1590.8545 | BB | 300 | 3 | 1 | 2011-01-13 09:43 | 50.0102 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rd7 | 4 | 0 | 0 | 1 | 1 | 1
V1111301 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 22_2 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.5183 | Area |  | 10464643.7582 | 1619576.7915 | 20190288.0759 | 3026456.8795 | 29.7949 | 1.036 | -1.0349 | 578367.2394 | 29.686 | 30.0126 | 3859.7381 | 6672.5273 | BB | 300 | 3 | 1 | 2011-01-13 11:29 | 50.0058 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rd3 | 4 | 0 | 0 | 1 | 1 | 1
V1111304 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 58 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.38188 | Area |  | 10497860.6667 | 2110160.6496 | 27489872.1442 | 5478663.6458 | 29.6159 | 1.0298 | -0.85588 | 746123.9963 | 29.489 | 29.7248 | 4639.0476 | 9699.0496 | BB | 300 | 3 | 1 | 2011-01-13 13:15 | 50.0076 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rd8 | 4 | 0 | 0 | 1 | 1 | 1
V1111307 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 82 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.25584 | Area |  | 9581317.8936 | 1723001.7444 | 37449970.0146 | 7072271.6282 | 29.7613 | 1.0348 | -1.0013 | 421465.0756 | 29.6526 | 29.9062 | 1745.5812 | -0.5854 | BB | 300 | 3 | 1 | 2011-01-13 15:01 | 50.0052 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | re1 | 4 | 0 | 0 | 1 | 1 | 1
V1111310 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 85 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.46387 | Area |  | 15837674.9522 | 2959420.9121 | 34142589.1274 | 6500204.2112 | 29.7282 | 1.0337 | -0.96822 | 820732.3859 | 29.6194 | 29.8733 | 12358.0353 | 13436.4286 | BB | 300 | 3 | 1 | 2011-01-13 16:47 | 50.0099 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | re2 | 4 | 0 | 0 | 1 | 1 | 1
V1111313 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 88 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.27599 | Area |  | 8357530.1515 | 1630418.0725 | 30282373.5435 | 5770852.0811 | 29.7776 | 1.0354 | -1.0176 | 257483.9619 | 29.6689 | 29.8864 | 6561.8889 | 3122.3456 | BB | 300 | 3 | 1 | 2011-01-13 18:33 | 50.0077 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | re3 | 4 | 0 | 0 | 1 | 1 | 1
V1111316 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 112 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.40549 | Area |  | 7560148.6725 | 1209214.8458 | 18644592.9374 | 2973648.6737 | 29.5772 | 1.0284 | -0.81717 | 682450.2895 | 29.4502 | 29.7404 | 834.8537 | 503.4835 | BB | 300 | 3 | 1 | 2011-01-13 20:19 | 50.0068 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | re4 | 4 | 0 | 0 | 1 | 1 | 1
V1111319 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 115 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.50814 | Area |  | 13218017.6886 | 2453992.2613 | 26012597.2327 | 4618721.7855 | 29.7571 | 1.0347 | -0.99707 | 550643.747 | 29.6301 | 29.8838 | 9384.1604 | 10078.8698 | BB | 300 | 3 | 1 | 2011-01-13 22:05 | 50.0035 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | re5 | 4 | 0 | 0 | 1 | 1 | 1
V1111322 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 118 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.35118 | Area |  | 11296213.356 | 2050441.826 | 32166597.9447 | 5987422.8537 | 29.5588 | 1.0278 | -0.79878 | 2123274.6184 | 29.4501 | 29.686 | 4724.7726 | 5282.2907 | BB | 300 | 3 | 1 | 2011-01-13 23:51 | 50.0063 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | re6 | 4 | 0 | 0 | 1 | 1 | 1
V1111328 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 3 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.68451 | Area |  | 10929871.567 | 1930275.5389 | 15967476.5974 | 2787133.6155 | 29.7072 | 1.0329 | -0.94722 | 542767.3919 | 29.5984 | 29.8703 | 3066.0856 | 1957.0908 | BB | 300 | 3 | 1 | 2011-01-14 03:23 | 50.0085 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rb1 | 4 | 0 | 0 | 1 | 1 | 1
V1111331 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 6 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.66884 | Area |  | 25325966.1564 | 4763703.5586 | 37865651.1828 | 7244029.594 | 29.6329 | 1.0303 | -0.87287 | 1934476.4333 | 29.524 | 29.7598 | 22795.2723 | 12307.2802 | BB | 300 | 3 | 1 | 2011-01-14 05:08 | 50.0057 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rb2 | 4 | 0 | 0 | 1 | 1 | 1
V1111334 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 9 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.61503 | Area |  | 12234456.6398 | 2256943.3994 | 19892603.5407 | 3690002.6264 | 29.3797 | 1.0215 | -0.61973 | 838756.138 | 29.2527 | 29.5065 | 0.46706 | 7101.8431 | BB | 300 | 3 | 1 | 2011-01-14 06:54 | 50.0079 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rb3 | 4 | 0 | 0 | 1 | 1 | 1
V1111337 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 33 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.55741 | Area |  | 11544137.3009 | 2119533.2557 | 20710351.692 | 3994215.8503 | 29.4362 | 1.0235 | -0.67617 | 861474.069 | 29.3271 | 29.5449 | 216.6923 | 5847.3482 | BB | 300 | 3 | 1 | 2011-01-14 08:40 | 50.0063 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rb4 | 4 | 0 | 0 | 1 | 1 | 1
V1111340 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 36 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.26016 | Area |  | 4473441.9287 | 850407.1153 | 17195066.6737 | 3398386.4777 | 29.6178 | 1.0298 | -0.85783 | 251041.9482 | 29.491 | 29.7266 | 0.35863 | 2639.1389 | BB | 300 | 3 | 1 | 2011-01-14 10:26 | 50.0082 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rb5 | 4 | 0 | 0 | 1 | 1 | 1
V1111343 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 39 | 1 | NA | NA |  | NA | NA | NA | Response Low | 0.47978 | Area |  | 10329241.777 | 2103876.8035 | 21529069.44 | 4415013.9809 | 29.5608 | 1.0278 | -0.80078 | 1776838.4819 | 29.4521 | 29.6877 | 1753.3854 | 6408.0705 | BB | 300 | 3 | 1 | 2011-01-14 12:12 | 50.0074 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rb6 | 4 | 0 | 0 | 1 | 1 | 1
V1111406 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 63 | 7 | NA | NA |  | NA | NA | NA | Response Low | 0.35974 | Area |  | 5397168.6894 | 1215631.6567 | 15002862.6288 | 3144870.119 | 29.5059 | 1.0259 | -0.74593 | 183981.8649 | 29.4153 | 29.5967 | 5060.2037 | 815.7866 | BB | 300 | 3 | 1 | 2011-01-14 16:05 | 50.0063 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rb7 | 4 | 0 | 0 | 1 | 1 | 1
V1111409 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 66 | 10 | NA | NA |  | NA | NA | NA | Response Low | 0.39643 | Area |  | 3634959.3794 | 718372.9595 | 9169297.4327 | 1740204.7883 | 29.7427 | 1.0342 | -0.98272 | 125722.7471 | 29.6703 | 29.8696 | 3417.4395 | 573.896 | BB | 300 | 3 | 1 | 2011-01-14 17:51 | 50.0061 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rb8 | 4 | 0 | 0 | 1 | 1 | 1
V1111412 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 69 | 13 | NA | NA |  | NA | NA | NA | Response Low | 0.38727 | Area |  | 9081120.0595 | 2303644.0741 | 23448809.6818 | 5515119.9373 | 29.5066 | 1.026 | -0.7466 | 1285568.8393 | 29.416 | 29.6337 | 8917.0434 | 6701.4842 | BB | 300 | 3 | 1 | 2011-01-14 19:37 | 50.0063 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rc1 | 4 | 0 | 0 | 1 | 1 | 1
V1111415 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 93 | 16 | NA | NA |  | NA | NA | NA | Response Low | 0.45651 | Area |  | 10006098.2934 | 2459843.9528 | 21918449.1862 | 5245146.2545 | 29.5071 | 1.026 | -0.74707 | 1666521.621 | 29.4163 | 29.5976 | 9347.3866 | 8451.4517 | BB | 300 | 3 | 1 | 2011-01-14 21:22 | 50.01 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rc2 | 4 | 0 | 0 | 1 | 1 | 1
V1111418 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 96 | 19 | NA | NA |  | NA | NA | NA | Response Low | 0.54891 | Area |  | 14775727.0271 | 3643100.1427 | 26918364.1737 | 6468143.6068 | 29.5077 | 1.026 | -0.74765 | 4224513.0554 | 29.4171 | 29.5983 | 120.0327 | 15417.3374 | BB | 300 | 3 | 1 | 2011-01-14 23:08 | 50.0075 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rc3 | 4 | 0 | 0 | 1 | 1 | 1
V1111421 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 99 | 22 | NA | NA |  | NA | NA | NA | Response Low | 0.35252 | Area |  | 7667059.4181 | 2018525.1271 | 21749317.8991 | 5557423.968 | 29.3593 | 1.0208 | -0.5993 | 1037826.4495 | 29.2686 | 29.4501 | 3701.4292 | 978.5948 | BB | 300 | 3 | 1 | 2011-01-15 00:54 | 50.006 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rc4 | 4 | 0 | 0 | 1 | 1 | 1
V1111427 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 13 | 28 | NA | NA |  | NA | NA | NA | Response Low | 0.62968 | Area |  | 11353060.2252 | 2384936.1907 | 18029822.4683 | 3799942.3116 | 29.3807 | 1.0216 | -0.62067 | 452467.0718 | 29.308 | 29.5075 | 9367.756 | 924.9191 | BB | 300 | 3 | 1 | 2011-01-15 04:26 | 50.0075 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rc6 | 4 | 0 | 0 | 1 | 1 | 1
V1111430 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 16 | 31 | NA | NA |  | NA | NA | NA | Response Low | 0.78345 | Area |  | 16505786.9833 | 4385298.2422 | 21067950.6629 | 5317889.1002 | 29.376 | 1.0214 | -0.61602 | 3224669.3702 | 29.3034 | 29.4667 | 18745.3542 | 387.1734 | BB | 300 | 3 | 1 | 2011-01-15 06:12 | 50.0043 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rc7 | 4 | 0 | 0 | 1 | 1 | 1
V1111433 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 19 | 34 | NA | NA |  | NA | NA | NA | Response Low | 0.68639 | Area |  | 15177502.1285 | 3558776.3981 | 22112094.7635 | 5253555.4127 | 29.3284 | 1.0198 | -0.56842 | 3898362.6535 | 29.2375 | 29.4916 | 9001.8325 | 13530.0953 | BB | 300 | 3 | 1 | 2011-01-15 07:58 | 50.0115 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rc8 | 4 | 0 | 0 | 1 | 1 | 1
V1111436 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 43 | 37 | NA | NA |  | NA | NA | NA | Response Low | 0.56366 | Area |  | 11529732.681 | 2843990.3037 | 20455016.1281 | 4835208.7405 | 29.2356 | 1.0165 | -0.47557 | 2788862.0653 | 29.1448 | 29.3624 | 2053.5173 | 13447.6776 | BB | 300 | 3 | 1 | 2011-01-15 09:44 | 50.0103 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rd1 | 4 | 0 | 0 | 1 | 1 | 1
V1111439 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 46 | 40 | NA | NA |  | NA | NA | NA | Response Low | 0.27105 | Area |  | 4119051.6164 | 1083311.1917 | 15196643.512 | 4150637.2033 | 29.3804 | 1.0216 | -0.62035 | 960001.5508 | 29.2897 | 29.5436 | 110.0306 | 173.0586 | BB | 300 | 3 | 1 | 2011-01-15 11:31 | 50.0097 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rd2 | 4 | 0 | 0 | 1 | 1 | 1
V1111442 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 49 | 43 | NA | NA |  | NA | NA | NA | Response Low | 0.47885 | Area |  | 7854297.7617 | 2153524.276 | 16402462.4943 | 4287536.1744 | 29.5779 | 1.0284 | -0.8179 | 1688438.1763 | 29.4874 | 29.6687 | 101.3184 | 85.8222 | BB | 300 | 3 | 1 | 2011-01-15 13:17 | 50.0056 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rd3 | 4 | 0 | 0 | 1 | 1 | 1
V1111445 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 73 | 46 | NA | NA |  | NA | NA | NA | Response Low | 0.35744 | Area |  | 7838912.2047 | 2598766.7379 | 21930922.3213 | 7337395.1838 | 29.3981 | 1.0222 | -0.6381 | 2446967.9233 | 29.3256 | 29.4707 | 0.14236 | 10995.0475 | BB | 300 | 3 | 1 | 2011-01-15 15:03 | 50.0076 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rd4 | 4 | 0 | 0 | 1 | 1 | 1
V1111448 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 76 | 49 | NA | NA |  | NA | NA | NA | Response Low | 0.42963 | Area |  | 4593890.4666 | 835549.4195 | 10692690.0614 | 1932320.7767 | 29.3979 | 1.0222 | -0.63785 | 353121.829 | 29.2712 | 29.5067 | 847.8241 | 1022.0552 | BB | 300 | 3 | 1 | 2011-01-15 16:48 | 50.0069 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rd5 | 4 | 0 | 0 | 1 | 1 | 1
V1111451 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 79 | 52 | NA | NA |  | NA | NA | NA | Response Low | 0.33717 | Area |  | 6070689.8871 | 1815097.937 | 18004797.0639 | 4873163.2594 | 29.4724 | 1.0248 | -0.7124 | 1654723.4228 | 29.3817 | 29.5448 | 122.2653 | 977.2483 | BB | 300 | 3 | 1 | 2011-01-15 18:34 | 50.0098 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rd6 | 4 | 0 | 0 | 1 | 1 | 1
V1111454 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 103 | 55 | NA | NA |  | NA | NA | NA | Response Low | 0.50093 | Area |  | 8949920.6458 | 2077054.2482 | 17866739.4307 | 3775811.3898 | 29.1994 | 1.0153 | -0.43943 | 1390396.3251 | 29.1087 | 29.3081 | 0.7478 | 1409.4261 | BB | 300 | 3 | 1 | 2011-01-15 20:20 | 50.0041 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rd7 | 4 | 0 | 0 | 1 | 1 | 1
V1111457 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 106 | 58 | NA | NA |  | NA | NA | NA | Response Low | 0.59951 | Area |  | 9032501.3988 | 1930256.7916 | 15066571.8463 | 3232979.2661 | 29.3974 | 1.0222 | -0.63738 | 1544759.4718 | 29.3067 | 29.5242 | 3977.3568 | 124.0429 | BB | 300 | 3 | 1 | 2011-01-15 22:06 | 50.0099 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rd8 | 4 | 0 | 0 | 1 | 1 | 1
V1111460 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 109 | 61 | NA | NA |  | NA | NA | NA | Response Low | 0.40618 | Area |  | 3986182.2534 | 716232.0211 | 9813911.0547 | 1678596.4139 | 29.4153 | 1.0228 | -0.65535 | 138950.1217 | 29.3066 | 29.5603 | 1134.7727 | 2459.696 | BB | 300 | 3 | 1 | 2011-01-15 23:52 | 50.0095 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | re1 | 4 | 0 | 0 | 1 | 1 | 1
V1111504 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 23 | 70 | NA | NA |  | NA | NA | NA | Response Low | 0.66944 | Area |  | 11946631.3393 | 2245016.2205 | 17845755.1453 | 3148275.7893 | 28.9637 | 1.0071 | -0.2037 | 2727199.3902 | 28.8368 | 29.1266 | 546.1935 | 2899.0513 | BB | 300 | 3 | 1 | 2011-01-16 05:10 | 50.0073 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | re3 | 4 | 0 | 0 | 1 | 1 | 1
V1111507 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 26 | 73 | NA | NA |  | NA | NA | NA | Response Low | 0.68736 | Area |  | 12751488.3519 | 3676565.2594 | 18551391.2156 | 4982790.6467 | 29.4901 | 1.0254 | -0.73008 | 4619191.9677 | 29.3993 | 29.5807 | -0.20687 | 12018.9065 | BB | 300 | 3 | 1 | 2011-01-16 06:56 | 50.0069 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | re4 | 4 | 0 | 0 | 1 | 1 | 1
V1111510 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 29 | 76 | NA | NA |  | NA | NA | NA | Response Low | 0.62418 | Area |  | 12289897.1472 | 2131120.0709 | 19689681.7116 | 3524241.7655 | 29.1252 | 1.0127 | -0.36517 | 1097847.5252 | 28.9981 | 29.2521 | -0.2978 | 2174.0464 | BB | 300 | 3 | 1 | 2011-01-16 08:42 | 50.0058 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | re5 | 4 | 0 | 0 | 1 | 1 | 1
V1111513 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 53 | 79 | NA | NA |  | NA | NA | NA | Response Low | 0.65399 | Area |  | 8776376.4471 | 1771864.9535 | 13419804.1553 | 2626412.2379 | 29.3256 | 1.0197 | -0.56563 | 1223486.9137 | 29.2349 | 29.4528 | 5324.4132 | 3027.4657 | BB | 300 | 3 | 1 | 2011-01-16 10:28 | 50.0096 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | re6 | 4 | 0 | 0 | 1 | 1 | 1
V1111516 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 56 | 82 | NA | NA |  | NA | NA | NA | Response Low | 0.27869 | Area |  | 5196014.5959 | 1133721.5976 | 18644254.2335 | 4435995.6707 | 29.2158 | 1.0158 | -0.45583 | 740221.9168 | 29.1253 | 29.3248 | 2410.9728 | 47.2423 | BB | 300 | 3 | 1 | 2011-01-16 12:14 | 50.0081 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | re7 | 4 | 0 | 0 | 1 | 1 | 1
V1111519 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 59 | 85 | NA | NA |  | NA | NA | NA | Response Low | 0.5012 | Area |  | 10548870.9942 | 2568618.7903 | 21047096.2706 | 4881482.4306 | 29.0888 | 1.0114 | -0.32882 | 1014584.0754 | 29.0164 | 29.2155 | 6302.1474 | 8018.6841 | BB | 300 | 3 | 1 | 2011-01-16 14:00 | 50.0062 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rb1 | 4 | 0 | 0 | 1 | 1 | 1
V1111522 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 83 | 88 | NA | NA |  | NA | NA | NA | Response Low | 0.34692 | Area |  | 4694836.9011 | 971381.9738 | 13532909.0203 | 2716887.7094 | 29.6332 | 1.0304 | -0.8732 | 380746.0848 | 29.5245 | 29.7421 | 38.2684 | 3233.193 | BB | 300 | 3 | 1 | 2011-01-16 15:46 | 50.0088 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rb2 | 4 | 0 | 0 | 1 | 1 | 1
V1111525 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 86 | 91 | NA | NA |  | NA | NA | NA | Response Low | 0.39131 | Area |  | 6140837.2038 | 1285508.8714 | 15693134.4986 | 3354828.6983 | 29.2528 | 1.0171 | -0.4928 | 1001753.0958 | 29.1621 | 29.3977 | -0.46339 | 662.2562 | BB | 300 | 3 | 1 | 2011-01-16 17:32 | 50.008 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rb3 | 4 | 0 | 0 | 1 | 1 | 1
V1111528 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 89 | 94 | NA | NA |  | NA | NA | NA | Response Low | 0.37995 | Area |  | 6267834.4256 | 1432367.4592 | 16496552.9657 | 3822408.0437 | 29.4186 | 1.0229 | -0.6586 | 827025.4379 | 29.3279 | 29.5276 | 2148.4104 | 478.4568 | BB | 300 | 3 | 1 | 2011-01-16 19:18 | 50.0099 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rb4 | 4 | 0 | 0 | 1 | 1 | 1
V1111531 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 113 | 97 | NA | NA |  | NA | NA | NA | Response Low | 0.42358 | Area |  | 7246206.0877 | 1687924.0603 | 17107235.0689 | 3917046.8984 | 29.2332 | 1.0165 | -0.47315 | 884839.5967 | 29.1244 | 29.3601 | -0.037484 | 472.9746 | BB | 300 | 3 | 1 | 2011-01-16 21:03 | 50.0065 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rb5 | 4 | 0 | 0 | 1 | 1 | 1
V1111534 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 116 | 100 | NA | NA |  | NA | NA | NA | Response Low | 0.52492 | Area |  | 13673759.1669 | 3327487.843 | 26049422.0552 | 6074204.7983 | 29.1234 | 1.0126 | -0.36338 | 585230.3666 | 29.0328 | 29.2139 | 12113.6205 | 6597.0645 | BB | 300 | 3 | 1 | 2011-01-16 22:49 | 50.0064 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rb6 | 4 | 0 | 0 | 1 | 1 | 1
V1111537 | Unknown Sample | mh, BEH, AMY, plasma, plastic, No 119 | 103 | NA | NA |  | NA | NA | NA | Response Low | 0.39397 | Area |  | 7228185.481 | 1795672.3192 | 18347235.1691 | 4752541.9651 | 29.3618 | 1.0209 | -0.60177 | 562727.5594 | 29.2891 | 29.4525 | 6067.2394 | 3042.167 | BB | 300 | 3 | 1 | 2011-01-17 00:35 | 50.0079 | C:\Xcalibur\methods\mh\RSLCnano_SRM_AMY_50m_upick_w1_mh101202 | C:\Xcalibur\methods\101129_AMY_Vantage_genesis | rb7 | 4 | 0 | 0 | 1 | 1 | 1