Data analysis for TMT proteomics: Proteome Discoverer 2.2 (PDv2.2) was used for raw data analysis, with default search parameters including oxidation (15.995 Da on M) as a variable modification and carbamidomethyl (57.021 Da on C) and TMT6plex (229.163 Da on peptide N-term and K) as fixed modifications, and 2 missed cleavages (full trypsin specificity). As a QC measure, the input fraction was re-searched with N-terminal TMT as a variable modification, confirming N-terminal labeling of 79 and 94% of all PSMs from the skeletal muscle and heart samples, respectively. Malonyl-enriched fraction runs added malonylation (86.00039 Da on K) as a variable modification and changed TMT to a variable modification on K (remaining fixed on peptide N-term) and increased maximum missed trypsin cleavage sites to 4. Considering each data type (malonyl, input) separately, PSMs from each search algorithm were filtered to a 1% FDR and PTM site localization probabilities were determined. PSMs were grouped to unique peptides while maintaining a 1% peptide level FDR and using a 90% PTM localization threshold. Peptides from all fractions (malonyl, input) were grouped to proteins using the rules of strict parsimony and proteins were filtered to 1% FDR using Protein FDR Validator. Reporter ion intensities for all PSMs having co-isolation interference below 0.5 and an average S/N > 2.5 for reporter ions were summed together at the peptide and protein level, but keeping quantification for each data type (malonyl, input) separate. Peptides shared between protein groups were excluded from protein quantitation calculations.  Protein and peptide groups results were exported as tab delimited .txt. files, and analyzed with an in-house Python module. First, peptide group reporter intensities for each peptide group in the input material were summed together for each TMT channel, each channel’s sum was divided by the average of all channels’ sums, resulting in channel-specific loading control normalization factors to correct for any deviation from equal protein/peptide input into the six sample comparison. Reporter intensities for peptide groups from the malonylpeptide runs, and for proteins from the input fraction runs were divided by the tissue-specific loading control normalization factors for each respective TMT channel. Analyzing the malonylpeptide, and protein datasets separately (for each tissue), all loading control-normalized TMT reporter intensities were converted to log2 space, and the average value from the six samples was subtracted from each sample-specific measurement to normalize the relative measurements to the mean. For MCDfl/fl and MCDM-/-comparisons (n=3) within each tissue, condition average, standard deviation, p-value (p, two-tailed student’s t-test, assuming equal variance), and adjusted p-value (Padjusted, Benjamini Hochberg FDR correction) were calculated. For protein-level quantification, only Master Proteins—or the most statistically significant protein representing a group of parsimonious proteins containing common peptides identified at 1% FDR—were used for quantitative comparison. Malonylpeptide measurements were calculated both alone (referred to as abundance) and with normalization to any change in the corresponding Master Protein (referred to as relative occupancy), calculated by subtracting Log2 Master Protein values from PTM-containing peptide quantitation values on a sample-specific basis.

Data analysis for label-free Complex V acylome interrogation:  Raw data were processed in PDv 2.2 using the Byonic search engine (Protein Metrics, Inc.) as a node. To generate a focused database for subsequent acyl-peptide quantification, data were searched against the UniProt mouse proteome database indicated above. Following generation of the focused database using Byonic, four variable modifications (all set as ‘‘common’’) included oxidation (M), and acylation of lysine with the following monoisotopic additions to K in parentheses: acetyl (42.010565 Da), malonyl (86.00039 Da), and succinyl (100.016044 Da)—with crotonyl (68.026215), propionyl (56.026215), and glutaryl (114.031694) added for the diet study. Fixed modification of carbamidomethyl (C) was selected. The maximum number of missed cleavages was set at 2 and enzyme specificity was trypsin. PSMs were filtered to a 1% false discovery rate (FDR) in PDv2.2 based on the target-decoy search results from Byonic. PSMs were grouped to peptides maintaining 1% FDR at the peptide level and peptides were grouped to proteins using the rules of strict parsimony. Proteins were filtered to 1% FDR using the Protein FDR Validator node of PD2.2. Peptide quantification was done using the MS1 precursor intensity. Imputation was performed via low abundance resampling. Quantitation for each acylpeptide identified was normalized to the relative abundance of the corresponding protein within each sample to control for differences in protein expression, sample loading, and LC-MS performance.