LCQ-ADVANTAGE Instrument Method

Creator: Administrator

Last modified: 10/5/2015 by Administrator

MS Run Time (min): 100.00

Sequence override of method parameters not enabled.

Divert Valve:  not used during run

Contact Closure:  not used during run

MS Detector Settings:

Segment 1 Information

Duration (min):        5.00

Number of Scan Events: 1

Tune Method:           msms_sera_settings_

Scan Event Details:

1:  + c     o(150.0-2000.0)

Segment 2 Information

Duration (min):        5.00

Number of Scan Events: 1

Tune Method:           Sera_MSMS

Scan Event Details:

1:  + c     ·(506.0)->o(135.0-2000.0)

MS/MS:  CE 35.0%   IsoW 1.5

Segment 3 Information

Duration (min):        5.00

Number of Scan Events: 1

Tune Method:           Sera_MSMS

Scan Event Details:

1:  + c     ·(521.0)->o(140.0-2000.0)

MS/MS:  CE 35.0%   IsoW 1.5

Segment 4 Information

Duration (min):        5.00

Number of Scan Events: 1

Tune Method:           Sera_MSMS

Scan Event Details:

1:  + c     ·(525.0)->o(140.0-2000.0)

MS/MS:  CE 35.0%   IsoW 1.5

Segment 5 Information

Duration (min):        5.00

Number of Scan Events: 1

Tune Method:           Sera_MSMS

Scan Event Details:

1:  + c     ·(528.0)->o(145.0-2000.0)

MS/MS:  CE 35.0%   IsoW 1.5

Segment 6 Information

Duration (min):        5.00

Number of Scan Events: 1

Tune Method:           Sera_MSMS

Scan Event Details:

1:  + c     ·(541.0)->o(145.0-2000.0)

MS/MS:  CE 35.0%   IsoW 1.5

Segment 7 Information

Duration (min):        5.00

Number of Scan Events: 1

Tune Method:           Sera_MSMS

Scan Event Details:

1:  + c     ·(549.0)->o(150.0-2000.0)

MS/MS:  CE 35.0%   IsoW 1.5

Segment 8 Information

Duration (min):        5.00

Number of Scan Events: 1

Tune Method:           Sera_MSMS

Scan Event Details:

1:  + c     ·(558.0)->o(150.0-2000.0)

MS/MS:  CE 35.0%   IsoW 1.5

Segment 9 Information

Duration (min):        5.00

Number of Scan Events: 1

Tune Method:           Sera_MSMS

Scan Event Details:

1:  + c     ·(559.0)->o(150.0-2000.0)

MS/MS:  CE 35.0%   IsoW 1.5

Segment 10 Information

Duration (min):        5.00

Number of Scan Events: 1

Tune Method:           Sera_MSMS

Scan Event Details:

1:  + c     ·(584.0)->o(160.0-2000.0)

MS/MS:  CE 35.0%   IsoW 1.5

Segment 11 Information

Duration (min):        5.00

Number of Scan Events: 1

Tune Method:           Sera_MSMS

Scan Event Details:

1:  + c     ·(603.0)->o(165.0-2000.0)

MS/MS:  CE 35.0%   IsoW 1.5

Segment 12 Information

Duration (min):        5.00

Number of Scan Events: 1

Tune Method:           Sera_MSMS

Scan Event Details:

1:  + c     ·(618.0)->o(170.0-2000.0)

MS/MS:  CE 35.0%   IsoW 1.5

Segment 13 Information

Duration (min):        5.00

Number of Scan Events: 1

Tune Method:           Sera_MSMS

Scan Event Details:

1:  + c     ·(638.0)->o(175.0-2000.0)

MS/MS:  CE 35.0%   IsoW 1.5

Segment 14 Information

Duration (min):        5.00

Number of Scan Events: 1

Tune Method:           Sera_MSMS

Scan Event Details:

1:  + c     ·(649.0)->o(175.0-2000.0)

MS/MS:  CE 35.0%   IsoW 1.5

Segment 15 Information

Duration (min):        5.00

Number of Scan Events: 1

Tune Method:           Sera_MSMS

Scan Event Details:

1:  + c     ·(665.0)->o(180.0-2000.0)

MS/MS:  CE 35.0%   IsoW 1.5

Segment 16 Information

Duration (min):        5.00

Number of Scan Events: 1

Tune Method:           Sera_MSMS

Scan Event Details:

1:  + c     ·(683.0)->o(185.0-2000.0)

MS/MS:  CE 35.0%   IsoW 1.5

Segment 17 Information

Duration (min):        5.00

Number of Scan Events: 1

Tune Method:           Sera_MSMS

Scan Event Details:

1:  + c     ·(733.0)->o(200.0-2000.0)

MS/MS:  CE 35.0%   IsoW 1.5

Segment 18 Information

Duration (min):        5.00

Number of Scan Events: 1

Tune Method:           Sera_MSMS

Scan Event Details:

1:  + c     ·(761.0)->o(205.0-2000.0)

MS/MS:  CE 35.0%   IsoW 1.5

Segment 19 Information

Duration (min):        5.00

Number of Scan Events: 1

Tune Method:           Sera_MSMS

Scan Event Details:

1:  + c     ·(763.0)->o(210.0-2000.0)

MS/MS:  CE 35.0%   IsoW 1.5

Segment 20 Information

Duration (min):        5.00

Number of Scan Events: 1

Tune Method:           Sera_MSMS

Scan Event Details:

1:  + c     o(150.0-2000.0)