| LCQ-ADVANTAGE Machine Status Log |  |
| --- | --- |
| API SOURCE |  |
| Source Voltage (kV): | 1.71 |
| Source Current (uA): | 0.19 |
| Source Thermocouple OK: | No |
| Source Temp (C): | 0 |
| Sheath Gas Flow Rate (): | -0.15 |
| Aux/Sweep Gas Flow Rate(): | -0.16 |
| Capillary RTD OK: | Yes |
| Capillary Voltage (V): | -10.4 |
| Capillary Temp (C): | 195.2 |
| Tube Lens Voltage (V, set point): | -105 |
| VACUUM |  |
| Vacuum OK: | Yes |
| Ion Gauge Pressure OK: | Yes |
| Ion Gauge Status: | On |
| Ion Gauge (x10e-5 Torr): | 1.15 |
| Convectron Pressure OK: | Yes |
| Convectron Gauge (Torr): | 0.86 |
| TURBO PUMP |  |
| Status: | Running |
| Life (hours): | 86746 |
| Speed (rpm): | 60000 |
| Power (Watts): | 37 |
| ION OPTICS |  |
| Multipole 1 Offset (V): | -3.95 |
| Lens Voltage (V): | -19.62 |
| Multipole 2 Offset (V): | -5.27 |
| Multipole RF Amplitude (Vp-p, set point): | 460 |
| Coarse Trap DC Offset (V): | -9.52 |
| Fine Trap DC Offset (V): | -9.63 |
| MAIN RF |  |
| Reference Sine Wave OK: | Yes |
| Standing Wave Ratio OK: | Yes |
| Main RF DAC (steps): | 63 |
| Main RF Detected (V): | -0.08 |
| RF Detector Temp (C): | 32.91 |
| Main RF Modulation (V): | 0 |
| Main RF Amplifier (Vp-p): | 8.74 |
| RF Generator Temp (C): | 35.69 |
| ION DETECTION SYSTEM |  |
| Dynode Voltage (kV): | -14.85 |
| Multiplier Actual (V): | -1217.25 |
| POWER SUPPLIES |  |
| +5V Supply Voltage (V): | 5.05 |
| -15V Supply Voltage (V): | -14.99 |
| +15V Supply Voltage (V): | 14.74 |
| +24V Supply Voltage (V): | 23.63 |
| -28V Supply Voltage (V): | -27.95 |
| +28V Supply Voltage (V): | 28.45 |
| +28V Supply Current (Amps): | 1.14 |
| +35V Supply Voltage (V): | 36.04 |
| +36V Supply Voltage (V): | 35.97 |
| -150V Supply Voltage (V): | -157.11 |
| +150V Supply Voltage (V): | 156.23 |
| -205V Supply Voltage (V): | -212.49 |
| +205V Supply Voltage (V): | 210.51 |
| Ambient Temp (C): | 22.17 |
| INSTRUMENT STATUS |  |
| Instrument: | On |
| Analysis: | Acquiring |
| SYRINGE PUMP |  |
| Status: | Ready |
| DIGITAL INPUTS |  |
| READY IN is active: | No |
| START IN is active: | No |
| Divert/Inject valve: | Inject |